## Upute za ispunjavanje
Naručitelj: Genos d.o.o., Vatrogasna 112, Osijek Predmet nabave: Potrošni materijal Evid. broj nabave: 08/2021
UPUTE ZA ISPUNJAVANJE / INSTRUCTIONS
KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | Navesti kataloški broj ponuđene stavke koji je provjerljiv ili online ili kroz dostavljene kataloške izvatke - ili - opisivanje konkretno ponuđene stavke.
CIJENA/PRICE HRK | Jedinična cijena stavke
VRIJEDNOST/AMOUNT HRK BEZ PDV-a / WITHOUT VAT | Jedinična cijena stavke pomnožena sa količinom, bez PDV-a
TOTAL (bez PDVA) TOTAL (without VAT) | Ukupan zbroj iznosa svih ponuđenih stavaka bez PDV-a
PDV / VAT | Iznos PDV-a na ukupan iznos
TOTAL (s PDV-om) TOTAL (with VAT) | Ukupan iznos ponude (s PDV-om)
Ukoliko ponuditelj nudi tek pojedine grupe, ostale grupe ostavlja prazne

## Grupa 1
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
1 | Grupa 1: PLOČICE ZA UHPLC ANALIZU GLIKANA | Group 1: PLATES FOR UHPLC GLYCAN ANALYSIS
1.1. | Pločica za prikupljanje/čuvanje uzoraka sa 96 jažica, volumen jažica: 2 ml, kompatibilna s autosamplerom Waters 2795 i Pall vakuum manifoldom (uređajem za filtriranje uz pomoć vakuuma), za inkubacije uzoraka na temperaturama od -30 °C do +80 °C, pojedinačna pakiranja do 10 komada | 96-well sample collection plate, volume: 2 ml, compatible with autosampler Waters 2795 and Pall vacuum manifold, for the temperatures -30 °C up to +80 °C, individual packaging up to 10 pieces | komad/piece | 1700
1.2. | Pločica za prikupljanje/čuvanje uzoraka sa 96 jažica, volumen jažica: 1 ml, kompatibilna s autosamplerom Waters 2795 i Pall vakuum manifoldom (uređajem za filtriranje uz pomoć vakuuma), za inkubacije uzoraka na temperaturama od -30 °C do +80 °C, pojedinačna pakiranja do 10 komada | 96-well sample collection plate, volume: 1 ml, compatible with autosampler Waters 2795 and Pall vacuum manifold, for the temperatures -30 °C up to +80 °C, individual packaging up to 10 pieces | komad/piece | 1400
1.3. | Pločica za prikupljanje/čuvanje uzoraka sa 96 jažica, volumen jažica: 800 µL, kompatibilna s autosamplerom Waters 2795, za inkubacije uzoraka na temperaturama od -30 °C do +80 °C, pojedinačna pakiranja do 10 komada | 96-well sample collection plate, volume: 800 µL, round well, compatible with autosampler Waters 2795, for the temperatures -30 °C up to +80 °C, individual packaging up to 10 pieces | komad/piece | 1000
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | TOTAL (bez PDVA) TOTAL (without VAT)
PDV / VAT
| Datum, mjesto: | M.P. Za ponuditelja: |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
____________________

## Grupa 2
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
2 | Grupa 2: VIJALE ZA PRIPREMU UZORAKA ZA UPLC | Group 2: VIALS FOR THE UPLC SAMPLE PREPARATION
2.1. | PP (polipropilen) vijale s navojem, volumena 300 μL , dimenzija 12 x 32mm s navojem 9mm, kompatibilne s uređajem Aquity H Class UPLC | 300μL PP Screw Vials, 12 x 32mm 9mm Thread, compatible with for Aquity H-Class UPLC | komad/piece | 160000
2.2. | Kapice za vijale s navojem 9 mm, PTFE septumom i prorezanim silikonom, kompatibilne s uređajem Aquity H Class UPLC | 9mm Screw Cap, PTFE septum with bonded pre-slit silicone, compatible with for Aquity H-Class UPLC | komad/piece | 160000
2.3. | PTFE/silicone polipropilenski čep, starburst septa, pakiranje od 100 komada, 11,5mmx6mmx9mm, za 13 mm promjera vijale | PTFE/silicone polypropylene seal, starburst cap, packaging pkg of 100, O.D. × H × I.D. 11.5 mm × 6 mm × 9 mm diam. 13 mm, for 13 mm snap ring | pakiranje/package | 4
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 3
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
3 | Grupa 3: FILTER PLOČICE ZA PRIPREMU UZORAKA | Group 3: FILTER PLATES FOR SAMPLE PREPARATION
3.1. | Polipropilenska pločica za filtriranje uzoraka sa 96 jažica, sa membranom od hidrofilnog politetrafluoretilena (wwPTFE), veličina pora: 0,45 μm, volumen jažica: 1 ml, kompatibilna s Pall vakuum manifoldom (uređajem za filtriranje uz pomoć vakuuma), površina dna jažice: 0.25 cm2, pojedinačno pakiranje do 10 komada | 96-well polypropylene filter plate, with water wettable polytetrafluoroethylene (wwPTFE) membrane, pores size: 0.45 μm, well volume: 1 ml, compatible with Pall vacuum manifold, well-bottom area 0.25 cm2, individual packaging up to 10 pieces | komad/piece | 900
3.2. | Polipropilenska pločica za filtriranje uzoraka sa 96 jažica, sa membranom od hidrofilnog politetrafluoretilena (wwPTFE), veličina pora: 0,2 μm, volumen jažica: 1 ml, kompatibilna s Pall vakuum manifoldom (uređajem za filtriranje uz pomoć vakuuma), površina dna jažice: 0.25 cm2, pojedinačno pakiranje do 10 komada | 96-well polypropylene filter plate, with water wettable polytetrafluoroethylene (wwPTFE) membrane, pores size: 0.2 μm, well volume: 1 ml, compatible with Pall vacuum manifold, well-bottom area 0.25 cm2, individual packaging up to 10 pieces | komad/piece | 700
3.3. | Polipropilenska pločica za filtriranje uzoraka sa 96 jažica, sa membranom od hidrofilnog politetrafluoretilena (wwPTFE), veličina pora: 0,2 μm, volumen jažica: 350 uL, kompatibilna s Pall vakuum manifoldom (uređajem za filtriranje uz pomoć vakuuma), površina dna jažice: 0.25 cm2, pojedinačno pakiranje do 10 komada | 96-well polypropylene filter plate, with water wettable polytetrafluoroethylene (wwPTFE) membrane, pores size: 0.2 μm, well volume: 350 uL, compatible with Pall vacuum manifold, well-bottom area 0.25 cm2, individual packaging up to 10 pieces | komad/piece | 800
3.4. | Polipropilenska pločica za filtriranje uzoraka sa 96 jažica, sa membranom od polietersulfona, veličina pora: 0,45 μm, volumen jažica: 1 ml, kompatibilna s Pall vakuum manifoldom (uređajem za filtriranje uz pomoć vakuuma), površina dna jažice: 0.25 cm2, pojedinačno pakiranje do 10 komada | 96-well polypropylene filter plate, with polyethersulfone membrane, pores size: 0.45 μm, well volume: 1 ml, compatible with Pall vacuum manifold, well-bottom area 0.25 cm2, individual packaging up to 10 pieces | komad/piece | 200
3.5. | Polipropilenska pločica za filtriranje uzoraka sa 96 jažica, sa membranom od polietersulfona, veličina pora: 0,2 μm, volumen jažica: 1 ml, kompatibilna s Pall vakuum manifoldom (uređajem za filtriranje uz pomoć vakuuma), površina dna jažice: 0.25 cm2, pojedinačno pakiranje do 10 komada | 96-well polypropylene filter plate, with polyethersulfone membrane, pores size: 0.2 μm, well volume: 1 ml, compatible with Pall vacuum manifold, well-bottom area 0.25 cm2, individual packaging up to 10 pieces | komad/piece | 200
3.6. | Polipropilenska pločica za filtriranje uzoraka sa 96 jažica, sa membranom od modificiranog polietersulfona, za ultrafiltraciju, zadržava molekule mase veće od 10 kDa (MWCO 10K), volumen jažica: 350 uL, kompatibilna s Pall vakuum manifoldom (uređajem za filtriranje uz pomoć vakuuma), površina dna jažice: 0.25 cm2, pojedinačno pakiranje do 10 komada | 96-well polypropylene filter plate, with modified polyethersulfone membrane, for ultrafiltration, molecular weight cut-off 10 kDa (MWCO 10K), well volume: 350 uL, compatible with Pall vacuum manifold, well-bottom area 0.25 cm2, individual packaging up to 10 pieces | komad/piece | 30
3.7. | Polipropilenska pločica za filtriranje uzoraka sa 96 jažica, sadrži materijal 25.0 mg/2.0 ml , veličina PE frita: 10 μm, volumen jažica: 0.7 ml, kompatibilna s Pall vakuum manifoldom (uređajem za filtriranje uz pomoć vakuuma) | 96-well polypropylene filter plate, contains material 25.0 mg/2.0 ml, 10 μm PE frit, well volume: 0.7 ml, compatible with Pall vacuum manifold | komad/piece | 144
TOTAL (bez PDVA) TOTAL (without VAT)
PDV / VAT
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 4
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
4 | Grupa 4: NASTAVCI ZA SARTORIUS PIPETE | Group 4: SARTORIUS PIPETTE TIPS
4.1. | Nastavci za pipete kompatibilni sa pipetama Sartorius Picus, nesterilni, bez filtera, pakirani u toranj za ponovno punjenje, u stalcima kodiranima u boji, certificirani na čistoću, proizvedeni u ISO 8 klasificiranim uvjetima čiste sobe kako bi se izbjegle bilo kakve kontaminacije, testirani na DNaze, RNaze i endotoksine u svakoj proizvodnoj seriji, sa stalcima i nosačima koji se mogu reciklirati i nosačima koji se mogu autoklavirati, duljina: 54 mm, volumen: 5-350 μl | Pipette tips compatible with Sartorius Picus pipettes, non-sterile, non-filtered, packed in a refill tower, with colour coded tip trays, purity certified, manufactured in ISO 8 classified clean room conditions to avoid any contaminations, tested for DNase, RNase and endotoxins per each tip lot, with recyclable trays and racks and autoclavable tip racks, length: 54 mm, volume: 5-350 μl | komad/piece | 96000
4.2. | Nastavci za pipete kompatibilni sa pipetama Sartorius Picus, nesterilni, bez filtera, produljeni, pakirani u pakiranja za ponovno punjenje, u stalcima kodiranima u boji, certificirani na čistoću, proizvedeni u ISO 8 klasificiranim uvjetima čiste sobe kako bi se izbjegle bilo kakve kontaminacije, testirani na DNaze, RNaze i endotoksine u svakoj proizvodnoj seriji, sa stalcima i nosačima koji se mogu reciklirati i nosačima koji se mogu autoklavirati, duljina: 90 mm, volumen: 50-1200 μl | Pipette tips compatible with Sartorius Picus pipettes, non-sterile, non-filtered, extended, packed in a refill pack, with colour coded tip trays, purity certified, manufactured in ISO 8 classified clean room conditions to avoid any contaminations, tested for DNase, RNase and endotoxins per each tip lot, with recyclable trays and racks and autoclavable tip racks, length: 90 mm, volume: 50-1200 μl | komad/piece | 90240
4.3. | Nastavci za pipete kompatibilni sa pipetama Sartorius Picus, nesterilni, bez filtera, pakirani u pakiranja za ponovno punjenje, u stalcima kodiranima u boji, certificirani na čistoću, proizvedeni u ISO 8 klasificiranim uvjetima čiste sobe kako bi se izbjegle bilo kakve kontaminacije, testirani na DNaze, RNaze i endotoksine u svakoj proizvodnoj seriji, sa stalcima i nosačima koji se mogu reciklirati i nosačima koji se mogu autoklavirati, duljina: 71.5 mm, volumen: 10-1000 μl | Pipette tips compatible with Sartorius Picus pipettes, non-sterile, non-filtered, packed in a refill pack, with colour coded tip trays, purity certified, manufactured in ISO 8 classified clean room conditions to avoid any contaminations, tested for DNase, RNase and endotoxins per each tip lot, with recyclable trays and racks and autoclavable tip racks, length: 71.5 mm, volume: 10-1000 μl | komad/piece | 90240
4.4. | Nastavci za pipete kompatibilni sa pipetama Sartorius Picus, nesterilni, bez filtera, pakirani u pojedinačne stalke, u stalcima kodiranima u boji, certificirani na čistoću, proizvedeni u ISO 8 klasificiranim uvjetima čiste sobe kako bi se izbjegle bilo kakve kontaminacije, testirani na DNaze, RNaze i endotoksine u svakoj proizvodnoj seriji, sa stalcima i nosačima koji se mogu reciklirati i nosačima koji se mogu autoklavirati, duljina: 155 mm, volumen: 1000-10 000 μl | Pipette tips compatible with Sartorius Picus pipettes, non-sterile, non-filtered, packed in a single tray, with colour coded tip trays, purity certified, manufactured in ISO 8 classified clean room conditions to avoid any contaminations, tested for DNase, RNase and endotoxins per each tip lot, with recyclable trays and racks and autoclavable tip racks, length: 155 mm, volume: 1000-10 000 μl | komad/piece | 1260
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 5
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
5 | Grupa 5: NASTAVCI ZA RAININ PIPETE | Group 5: RAININ PIPETTE TIPS
5.1. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 2 μl, 10 μl i 20 μl, nesterilni, pakirani u naslagane dvostruke stalke (2x96), posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju , maksimalan radni volumen: 20 μl | Pipette tips compatible with Rainin LTS Lite Touch 2 μl, 10 μl and 20 μl pipettes, non-sterile, packed in stacked/layered double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 20 μl | komad/piece | 188160
5.2. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 50 μl, 100 μl, 200 μl, nesterilni, pakirani u naslagane dvostruke stalke (2x96), posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 200 μl | Pipette tips compatible with Rainin LTS Lite Touch 50 μl, 100 μl, and 200 μl pipettes, non-sterile, packed in stacked/layered double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 200 μl | komad/piece | 188160
5.3. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 300 μl, nesterilni, pakirani u naslagane dvostruke stalke (2x96), posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 300 μl | Pipette tips compatible with Rainin LTS Lite Touch 300 μl pipettes, non-sterile, packed in stacked/layered double-96 racks, with available certificate for purity free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 300 μl | komad/piece | 153600
5.4. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 1000 μl, nesterilni, pakirani u naslagane dvostruke stalke (2x96), posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 1000 μl | Pipette tips compatible with Rainin LTS Lite Touch 1000 μl pipettes, non-sterile, packed in stacked/layered double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 1000 μl | komad/piece | 153600
5.5. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 5000 μl, nesterilni, pakirani u pojedinačne zatvorene kutije po 24 nastavka, posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 5000 μl | Pipette tips compatible with Rainin LTS Lite Touch 5000 μl pipettes, non-sterile, packed in individual closed 24-tip racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 5000 μl | komad/piece | 5760
5.6. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 1000 μl, širokog otvora (1.5 mm), nesterilni, pakirani u pojedinačne zatvorene kutije po 96 nastavaka, posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 1000 μl | Pipette tips compatible with Rainin LTS Lite Touch 1000 μl pipettes, wide orifice (1.5 mm), non-sterile, packed in individual closed 96-tip racks, with available certificate for purity or equivalent (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 1000 μl | komad/piece | 153600
5.7. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 1000 μl, prethodno sterilizirani, s filterom, pakirani u dvostruke stalke (2x96), posjeduju certifikat o čistoći ili jednakovrijedno (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 1000 μl | Pipette tips compatible with Rainin LTS Lite Touch 1000 μl pipettes, pre-sterilized, filter, packed in double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 1000 μl | komad/piece | 153600
5.8. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 50 μl, 100 μl i 200 μl, prethodno sterilizirani, s filterom, pakirani u dvostruke stalke (2x96), posjeduju certifikat o čistoći ili jednakovrijedno (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 200 μl | Pipette tips compatible with Rainin LTS Lite Touch 50 μl, 100 μl, and 200 μl pipettes, pre-sterilized, filter, packed in double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 200 μl | komad/piece | 188160
TOTAL (bez PDVA) TOTAL (without VAT)
PDV / VAT
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 6
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
6 | Grupa 6: NASTAVCI ZA EPPENDORF PIPETE | Group 6: EPPENDORF PIPETTE TIPS
6.1. | Nastavci za pipete optimizirani za Eppendorf pipete, bezbojni, duljine 55 mm, s minimalnim silama prilikom postavljanja i izbacivanja, s visokom razinom stegnutosti, optimalnim svojstvima vlaženja, visoke prozirnosti, certificiranih razina čistoće, mogu biti autoklavirani na 121 °C tijekom 20 min. U skladu s DIN EN ISO 11607 zahtjevima (ili jednakovrijedno), u veličini od 20 do 300 µL, pakiranje do 960 komada u postolju. | Pipette tips optimized for Eppendorf pipettes, colorless, length 55 mm, with minimal attachment and ejection forces and the highest level of tightness, optimal wetting properties, high transparency, certified purity grades, autoclaved at 121 °C in 20 min. Meet DIN EN ISO 11607 requirements (or equivalent), in size from 20 to 300 µL. Packaging up to 960 pieces in rack. |  | 38400
6.2. | Nastavci za pipete optimizirani za Eppendorf pipete, bezbojni, duljine 53 mm, s minimalnim silama prilikom postavljanja i izbacivanja, s visokom razinom stegnutosti, optimalnim svojstvima vlaženja, visoke prozirnosti, certificiranih razina čistoće, mogu biti autoklavirani na 121 °C tijekom 20 min. U skladu s DIN EN ISO 11607 zahtjevima (ili jednakovrijedno), u veličini od 2 do 200 µL, pakiranje do 960 komada u postolju. | Pipette tips optimized for Eppendorf pipettes, colorless, length 53 mm, with minimal attachment and ejection forces and the highest level of tightness, optimal wetting properties, high transparency, certified purity grades, autoclaved at 121 °C in 20 min. Meet DIN EN ISO 11607 requirements (or equivalent), in size from 2 to 200 µL. Packaging up to 960 pieces in rack. | komad/piece | 38400
6.3. | Nastavci za pipete optimizirani za Eppendorf pipete, bezbojni, duljine 34 mm, s minimalnim silama prilikom postavljanja i izbacivanja, s visokom razinom stegnutosti, optimalnim svojstvima vlaženja, visoke prozirnosti, certificiranih razina čistoće, mogu biti autoklavirani na 121 °C in 20 min. U skladu s DIN EN ISO 11607 zahtjevima (ili jednakovrijedno), u veličini od 0.1 do 10 µL, pakiranje do 960 komada u postolju. | Pipette tips optimized for Eppendorf pipettes, colorless, length 34 mm, with minimal attachment and ejection forces and the highest level of tightness, optimal wetting properties, high transparency, certified purity grades, autoclaved at 121 °C in 20 min. Meet DIN EN ISO 11607 requirements(or equivalent), in size from 0.1 to 10 µL. Packaging up to 960 pieces in rack. | komad/piece | 96000
6.4. | Nastavci za pipete optimizirani za Eppendorf pipete, bezbojni, duljine 40 mm, s minimalnim silama prilikom postavljanja i izbacivanja, s visokom razinom stegnutosti, optimalnim svojstvima vlaženja, visoke prozirnosti, certificiranih razina čistoće, mogu biti autoklavirani na 121 °C in 20 min. U skladu s DIN EN ISO 11607 zahtjevima (ili jednakovrijedno), u veličini od 0.1 do 20 µL, pakiranje do 960 komada u postolju. | Pipette tips optimized for Eppendorf pipettes, colorless, length 40 mm, with minimal attachment and ejection forces, the highest level of tightness, optimal wetting properties, high transparency, certified purity grades, autoclaved at 121 °C in 20 min. Meet DIN EN ISO 11607 requirements(or equivalent) in size from 0.1 to 20 µL. Packaging up to 960 pieces in rack. | komad/piece | 153600
6.5. | Nastavci za pipete s filterom optimizirani za Eppendorf pipete, bezbojni, duljine 34 mm. Dva sloja filtera pružaju zaštitu pipete i uzorka od aerosola i biomolekula. Slobodni od aditiva koji inhibiraju PCR, sterilni. U veličini od 0.1 do 10 µL, pakiranje do 960 komada u postolju. | Pipette tips with filter optimized for Eppendorf pipettes, colorless, length 34 mm. Two filter layers provide dual protection against aerosols and biomolecules to guard the pipette and sample. Free of PCR inhibiting additives and sterile, in size from 0.1 to 10 µL. Packaging up to 960 pieces in rack. | komad/piece | 19200
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 7
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
7 | Grupa 7: NASTAVCI ZA EPPENDORF I ERGOONE PIPETE ZA RAD S DNA | Group 7: EPPENDORF AND ERGOONE PIPETTE TIPS FOR USE IN DNA ANALYSIS
7.1. | Produženi nastavci s filterom, maksimalni volumen 1000-1250 µl, minimalna duljina 102 mm, za korišenje na ErgoOne® i Eppendorf® pipeti od 1000 ul. Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Pakiranje od 768-960 nastavaka (8 ili 10 kutijica x 96 ili 100 nastavka) | Extended Length Filter Tip, max volume 1000- 1250 µl , at least 102 mm, for use with: ErgoOne® and Eppendorf® pipette of 1000 ul. Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Sterile, and RNase, DNase, DNA and Pyrogen free. Pack of 768-960 tips - 96 or 100-tip rack (8-10 racks x 96-100 tips) | pakiranje/ packing | 8
7.2. | Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji je ponovo upotrebljiv te koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Mogućnost autoklavirarnja kutijice (za refill opciju) bez da se pritom mijenja kvaliteta i oblik, s opcijom slaganja kutija jedne na druge zbog uštede laboratorijskog prostora. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 20 µL. Pakiranje od 960 nastavaka (10 kutijica x96 nastavaka). | Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Reusable, clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling.The racks will be used for prolonged and repeat use so it should be autoclavable while retaining stability, strength and shape of the tips. Stackable - the racks should be designed to stack safely on top of one another to help save valuable lab space. Ideal for multi-channels pipettes with secure tip fit across all channels. 96 tips in rack. For volumes from 1 to 20 µL. Pack of 960 tips (10 racks x 96 tips). | pakiranje/ packing | 6
7.3. | Nastavci za nadopunu (refill): Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 20 µL, pakiranje od 960 nastavaka (10 refill kutijica x 96 nastavaka) za nadopunu postojećih kutijica - brzo i jednostavna nadopuna, individualno pakiranje u kojem su nastaci u potpunosti zaštićeni s ciljem spriječavanja njihovog potencijanog ugrožavanja sterilnosti. | Refill tips: Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Ideal for multi-channels pipettes with secure tip fit across all channels. Clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling. Ideal for multi-channels pipettes with secure tip fit across all channels. For volumes from 1 to 20 µL. Pack of 960 tips (10 refills x 96 tips) - to refill existing racks, quick and easy to load, individually wrapped, sterility shuld not be compromised during racking. | pakiranje/ packing | 6
7.4. | Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji je ponovo upotrebljiv te koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Mogućnost autoklavirarnja kutijice (za refill opciju) bez da se pritom mijenja kvaliteta i oblik, s opcijom slaganja kutija jedne na druge zbog uštede laboratorijskog prostora. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 200 µL. Pakiranje od 960 nastavaka (10 kutijica x96 nastavaka). | Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Reusable, clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling.The racks will be used for prolonged and repeat use so it should be autoclavable while retaining stability, strength and shape of the tips. Stackable - the racks should be designed to stack safely on top of one another to help save valuable lab space. Ideal for multi-channels pipettes with secure tip fit across all channels. 96 tips in rack. For volumes from 1 to 200 µL. Pack of 960 tips (10 racks x 96 tips). | pakiranje/ packing | 6
7.5. | Nastavci za nadopunu (refill): Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 200 µL, pakiranje od 960 nastavaka (10 refill kutijica x 96 nastavaka) za nadopunu postojećih kutijica - brzo i jednostavna nadopuna, individualno pakiranje u kojem su nastaci u potpunosti zaštićeni s ciljem spriječavanja njihovog potencijanog ugrožavanja sterilnosti. | Refill tips: Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Ideal for multi-channels pipettes with secure tip fit across all channels. Clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling. Ideal for multi-channels pipettes with secure tip fit across all channels. For volumes from 1 to 200 µL. Pack of 960 tips (10 refills x 96 tips) - to refill existing racks, quick and easy to load, individually wrapped, sterility shuld not be compromised during racking. | pakiranje/ packing | 4
7.6. | Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji je ponovo upotrebljiv te koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Mogućnost autoklavirarnja kutijice (za refill opciju) bez da se pritom mijenja kvaliteta i oblik, s opcijom slaganja kutija jedne na druge zbog uštede laboratorijskog prostora. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 1000 µL. Pakiranje od 960 nastavaka (10 kutijica x96 nastavaka). | Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Reusable, clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling.The racks will be used for prolonged and repeat use so it should be autoclavable while retaining stability, strength and shape of the tips. Stackable - the racks should be designed to stack safely on top of one another to help save valuable lab space. Ideal for multi-channels pipettes with secure tip fit across all channels. 96 tips in rack. For volumes from 1 to 1000 µL. Pack of 960 tips (10 racks x 96 tips). | pakiranje/ packing | 6
7.7. | Nastavci za nadopunu (refill): Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 1000 µL, pakiranje od 960 nastavaka (10 refill kutijica x 96 nastavaka) za nadopunu postojećih kutijica - brzo i jednostavna nadopuna, individualno pakiranje u kojem su nastaci u potpunosti zaštićeni s ciljem spriječavanja njihovog potencijanog ugrožavanja sterilnosti. | Refill tips: Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Ideal for multi-channels pipettes with secure tip fit across all channels. Clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling. Ideal for multi-channels pipettes with secure tip fit across all channels. For volumes from 1 to 1000 µL. Pack of 960 tips (10 refills x 96 tips) - to refill existing racks, quick and easy to load, individually wrapped, sterility shuld not be compromised during racking. | pakiranje/ packing | 8
7.8. | Produženi nastavci za nadopunu (refill): Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 20 XL µL, pakiranje od 960 nastavaka (10 refill kutijica x 96 nastavaka) za nadopunu postojećih kutijica - brzo i jednostavna nadopuna, individualno pakiranje u kojem su nastaci u potpunosti zaštićeni s ciljem spriječavanja njihovog potencijanog ugrožavanja sterilnosti. | Extended Refill tips: Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Ideal for multi-channels pipettes with secure tip fit across all channels. Clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling. Ideal for multi-channels pipettes with secure tip fit across all channels. For volumes from 1 to 20 XL µL. Pack of 960 tips (10 refills x 96 tips) - to refill existing racks, quick and easy to load, individually wrapped, sterility shuld not be compromised during racking. | pakiranje/ packing | 5
7.9. | Nastavci s filterom, graduirani, tzv. Gilson stil, volumen 5000 µl, Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Pakiranje od 500 nastavaka (10 kutijica x 50 nastavka) | 5000 µl Gilson-Style Graduated Macro Filter Tip, For use with: ErgoOne® pipette. Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Sterile, and RNase, DNase, DNA and Pyrogen free. Pack of 500 tips - 50-tip rack (10 racks x 50 tips) | pakiranje/ packing | 5
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 8
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
8 | Grupa 8: MATERIJAL ZA INKUBACIJU UZORAKA U PLOČICAMA | Group 8: MATERIAL FOR INCUBATION OF SAMPLES STORED IN PLATES
8.1. | Ljepljivi filmovi za PCR pločice s 96 jažica (dimenzije 135 x 80 mm), prozirni, nesterilni, neprobojni, koji se mogu odlijepiti bez zaostajanja ljepljivog materijala nakon izlaganja temperaturi od 60 stupnjeva, prikladni za inkubacije u širokom temperaturnom rasponu: od -20°C do 110°C | Adhesive PCR seal for 96-well plates (dimensions 135 x 80 mm), clear, non-sterile, non-pierceable, peelable without leaving sticky residuals after temperature incubation at 60 °C, suitable for high range temperature incubations: -20°C to 110°C | komad/piece | 3000
8.2. | Strip kapice za reakcijske tubice/PCR pločice, 8 stripova, polipropilenske, ravne, optički transparentne, kompatibilne s Thermo i 4titude PCR pločicama, pojedinačno pakirano 12 stripova sa po 8 spojenih kapica, pakiranja od 300 komada, pogodne za inkubaciju na -20°C, s dostupnim tehničkim nacrtom | Strips of sealing caps, 8-strip, polypropylene, flat, optically clear, compatible with Thermo and 4titude PCR plates, individual packagings of twelve 8-strip caps, packaging of 300, suitable for incubation at -20°C, with available technical drawing | komad/piece | 8400
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 9
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
19 | Grupa 9: TUBICE / KAPICE | Group 9: TUBES / CAPS
9.1. | Reakcijske tubice/epruvete za centrifugiranje, polipropilenske, transparentne s ravnom kapicom, volumen: 5 ml | Reaction tubes, polypropylene, transparent, with attached flat cap, volume: 5 ml | komad/piece | 6000
9.2. | Reakcijske tubice/epruvete za mikrocentrifugiranje za smanjeni gubitak proteina, polipropilenske, transparentne s ravnom kapicom, do 18 000 x g, volumen: 1.5 - 2 ml | Microcentrifuge tubes for minimized protein loss, polypropylene, transparent, with attached flat cap, up to 18 000 x g, volume: 1.5 - 2 ml | komad/piece | 6000
9.3. | Reakcijske tubice/epruvete za centrifugiranje dimenzija približno 30 mm OD, 115 mm duljine, polipropilenske, s polietilenskim ravnim čepom za zatvaranje, transparentne s označenom graduacijom, sterilne, do 16 000 x g, volumen: 50 ml | Centrifuge tube, approximatelly 30 mm O.D., 115 mm length, polypropylene, with polyethylene flat-top screw cap, clear, with printed graduations, sterile, up to 16 000 x g, volume: 50 ml | komad/piece | 1200
9.4. | Reakcijske tubice/epruvete za centrifugiranje dimenzija približno 17 mm OD, 120 mm duljine, polipropilenske, s polietilenskim ravnim čepom za zatvaranje, transparentne s označenom graduacijom, sterilne, do 16 000 x g, volumen: 15 ml | Centrifuge tube, approximatelly 17 mm O.D., 120 mm length, polypropylene, with polyethylene flat-top screw cap, clear, with printed graduations, sterile, up to 16 000 x g, volume: 15 ml | komad/piece | 1200
9.5. | Reakcijske tubice/epruvete za centrifugiranje, polipropilenske, transparentne, graduirane, s ravnom kapicom, do 20 000 x g, volumen: 1.5 - 1.7 ml | Microcentrifuge tubes, polypropylene, transparent, graduated, with attached flat cap, up to 20 000 x g, volume: 1.5 - 1.7 ml | komad/piece | 10000
9.6. | Reakcijske tubice/epruvete za centrifugiranje, polipropilenske, transparentne, graduirane, s ravnom kapicom, do 20 000 x g, volumen: 2 ml | Microcentrifuge tubes, polypropylene, transparent, graduated, with attached flat cap, up to 20 000 x g, volume: 2 ml | komad/piece | 10000
9.7. | PCR reakcijske tubice/epruvete za centrifugiranje, polipropilenske, transparentne, s ravnom kapicom, do 20 000 x g, volumen: 0.5 ml | PCR tubes, polypropylene, transparent, with flat cap, up to 20 000 x g, volume: 0.5 ml | komad/piece | 10000
9.8. | PCR strip reakcijske tubice, 8 tubica u stripu, polipropilenske, transparentne, volumen: 0.2 ml | PCR strip tubes, 8-strips, polypropylene, transparent, volume: 0.2 ml | komad/piece | 1200
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 10
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
11 | GRUPA 11 - Laboratorijske rukavice | GROUP 11 - Laboratory gloves
11.1 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC)-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina XS, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size XS, packed in boxes (100-200 per box) | komad/piece | 30000
11.2 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC)-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina S, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size S, packed in boxes (100-200 per box) | komad/piece | 100000
11.3 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina M, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size M, packed in boxes (100-200 per box) | komad/piece | 100000
11.4 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC)-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina L, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size L, packed in boxes (100-200 per box) | komad/piece | 60000
11.5 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC)-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina XL, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size XL, packed in boxes (100-200 per box) | komad/piece | 20000
11.6. | Jednokratne rukavice - nitrilne, bez pudera. Lagane, udobne rukavice izuzetnog prianjanja. Izuzetno meka i jaka rukavica koja pruža poboljšanu taktilnu osjetljivost. Pogodne za rad koji zahtijeva veliku spretnost. Dugačke minimalno za potpuno prekrivanje zgloba (poželjno 245 mm). Udovoljava zahtjevima: • Rizik od mikroorganizama – prema EN ISO 374-5:2016 (ili jednakovrijedno): ispunjava ISO 16604:2004 (ili jednakovrijedno) koji propisuje visoku zaštitu od patogena (bakterija, gljivica i virusa) • Visoka zaštita od opasnih kemikalija – minimalno tip B, prema EN ISO 374-1:2016 (ili jednakovrijedno) • Otpornost – prema EN 374-2:2014 Poželjna razina 3, AQL od 0.65 (ili što bliže toj vrijednosti, do max 1.5) • Medicinski proizvodi klase I (MDD 93/42 / EEC) • Kategorija II ili III osobne zaštitne opreme (PPE - EU Regulation 2016/425 ili jednakovrijedno). Prednost: • s teksturom prstiju • debljina na području dlana (mm) 0.07 • debljina na području prstiju (mm) 0.11 • minimizira rizik od ergonomskih ozljeda ruku Veličina S, upakirane u kutije (prednost: 250 rukavica po kutiji). | Disposable gloves - nitrile, powder-free. Lightweight, comfort glove with exceptional fit. An extremely soft and strong glove that provides improved tactile sensitivity. Ideal for work that requires great dexterity. A Long enough to provide full cover over the wrist (preferably 245 mm). In compliance with: • Requirements for micro-organisms risks - for EN ISO 374-5 (or equivalent) they fulfill the ISO 16604:2004 (or equivalent) which states the high protection against penetration by blood-borne pathogens (bacteria, fungi and virus). • High protection against chemicals and micro-organisms - at least Type B/ EN ISO 374-1 (or equivalent) • Protection against penetration by micro-organisms - EN 374-2:2014, Acceptable Quality Level (AQL) of 0.65 (the closest to that value but not more than 1.5) • Medical device class I (93/42/EEC) • PPE Category III (PPE - EU Regulation 2016/425 or equivalent) Advantage: • textured fingers • Palm Thickness (mm) 0.07-0.11 • Finger Thickness (mm) 0.11-0.18 • they minimize the risk of ergonomic hand injuries Size S, packed in boxes (advantage: 250 gloves per box). | komad/piece | 5000
11.7. | Jednokratne rukavice - nitrilne, bez pudera. Lagane, udobne rukavice izuzetnog prianjanja. Izuzetno meka i jaka rukavica koja pruža poboljšanu taktilnu osjetljivost. Pogodne za rad koji zahtijeva veliku spretnost. Dugačke minimalno za potpuno prekrivanje zgloba (poželjno 245 mm). Udovoljava zahtjevima: • Rizik od mikroorganizama – prema EN ISO 374-5:2016 (ili jednakovrijedno): ispunjava ISO 16604:2004 (ili jednakovrijedno) koji propisuje visoku zaštitu od patogena (bakterija, gljivica i virusa) • Visoka zaštita od opasnih kemikalija – minimalno tip B, prema EN ISO 374-1:2016 (ili jednakovrijedno) • Otpornost – prema EN 374-2:2014 Poželjna razina 3, AQL od 0.65 (ili što bliže toj vrijednosti, do max 1.5) • Medicinski proizvodi klase I (MDD 93/42 / EEC) • Kategorija II ili III osobne zaštitne opreme (PPE - EU Regulation 2016/425 ili jednakovrijedno). Prednost: • s teksturom prstiju • debljina na području dlana (mm) 0.07 • debljina na području prstiju (mm) 0.11 • minimizira rizik od ergonomskih ozljeda ruku Veličina M, upakirane u kutije (prednost: 250 rukavica po kutiji). | Disposable gloves - nitrile, powder-free. Lightweight, comfort glove with exceptional fit. An extremely soft and strong glove that provides improved tactile sensitivity. Ideal for work that requires great dexterity. Long enough to provide full cover over the wrist (preferably 245 mm). In compliance with: • Requirements for micro-organisms risks - for EN ISO 374-5 (or equivalent) they fulfill the ISO 16604:2004 (or equivalent) which states the high protection against penetration by blood-borne pathogens (bacteria, fungi and virus). • High protection against chemicals and micro-organisms - at least Type B/ EN ISO 374-1 (or equivalent) • Protection against penetration by micro-organisms - EN 374-2:2014, Acceptable Quality Level (AQL) of 0.65 (the closest to that value but not more than 1.5) • Medical device class I (93/42/EEC) • PPE Category III (PPE - EU Regulation 2016/425 or equivalent) Advantage: • textured fingers • Palm Thickness (mm) 0.07 • Finger Thickness (mm) 0.11 • they minimize the risk of ergonomic hand injuries Size M, packed in boxes (advantage: 250 gloves per box). | komad/piece | 2500
11.8. | Jednokratne rukavice - nitrilne, bez pudera. Lagane, udobne rukavice izuzetnog prianjanja. Izuzetno meka i jaka rukavica koja pruža poboljšanu taktilnu osjetljivost. Pogodne za rad koji zahtijeva veliku spretnost. Dugačke minimalno za potpuno prekrivanje zgloba (poželjno 245 mm). Udovoljava zahtjevima: • Rizik od mikroorganizama – prema EN ISO 374-5:2016 (ili jednakovrijedno): ispunjava ISO 16604:2004 (ili jednakovrijedno) koji propisuje visoku zaštitu od patogena (bakterija, gljivica i virusa) • Visoka zaštita od opasnih kemikalija – minimalno tip B, prema EN ISO 374-1:2016 (ili jednakovrijedno) • Otpornost – prema EN 374-2:2014 Poželjna razina 3, AQL od 0.65 (ili što bliže toj vrijednosti, do max 1.5) • Medicinski proizvodi klase I (MDD 93/42 / EEC) • Kategorija II ili III osobne zaštitne opreme (PPE - EU Regulation 2016/425 ili jednakovrijedno). Prednost: • s teksturom prstiju • debljina na području dlana (mm) 0.07 • debljina na području prstiju (mm) 0.11 • minimizira rizik od ergonomskih ozljeda ruku Veličina L, upakirane u kutije (prednost: 250 rukavica po kutiji). | Disposable gloves - nitrile, powder-free. Lightweight, comfort glove with exceptional fit. An extremely soft and strong glove that provides improved tactile sensitivity. Ideal for work that requires great dexterity. Long enough to provide full cover over the wrist (preferably 245 mm). In compliance with: • Requirements for micro-organisms risks - for EN ISO 374-5 (or equivalent) they fulfill the ISO 16604:2004 (or equivalent) which states the high protection against penetration by blood-borne pathogens (bacteria, fungi and virus). • High protection against chemicals and micro-organisms - at least Type B/ EN ISO 374-1 (or equivalent) . • Protection against penetration by micro-organisms - EN 374-2:2014, Acceptable Quality Level (AQL) of 0.65 (the closest to that value but not more than 1.5) • Medical device class I (93/42/EEC) • PPE Category III (PPE - EU Regulation 2016/425 or equivalent) Advantage: • textured fingers • Palm Thickness (mm) 0.07 • they minimize the risk of ergonomic hand injuries • Finger Thickness (mm) 0.11 Size L, packed in boxes (advantage: 250 gloves per box). | komad/piece | 2500
TOTAL (bez PDVA) TOTAL (without VAT)
PDV / VAT
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 11
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
11 | Grupa 11: OSTALI POTROŠNI MATERIJAL | Group 11: MISCELLANEOUS
11.1. | Posudice za reagense, polipropilenske, nesterilne, s mogućnošću autoklaviranja, prikladne za pipetiranje multikanalnim pipetama, s uključenim poklopcem, kapaciteta minimalno 60 ml | Reagent reservoir, polypropylene, non-sterile, autoclavable, for use with multichannel pipettes, with lid included, capacity minimum 60 ml | komad/piece | 20
11.2. | Sterilni filteri za boce sa PES membranom za jednokratnu upotrebu, veličina pora: 0.2 µm, promjer membrane: 75 mm, volumen: 500 ml, pristaje na boce veličine grla 45 mm | Sterile Disposable Bottle-top filters with PES-membrane, pore size: 0.2 µm, membrane diameter: 75 mm, volume: 500 ml, fits bottle neck size: 45 mm | komad/piece | 24
11.3. | Indikatorski papirići, raspon pH 6.5-10 | pH indicator strips, non-bleading, pH range 6.5-10 | komad/piece | 800
11.4. | Indikatorski papirići, raspon pH 0-14 | pH indicator strips, non-bleading, pH range 0-14 | komad/piece | 800
11.5 | Laboratorijske maramice, absorbirajuće, meke, neabrazivne, antistatičke, ne ostavljaju čestice, pojedinačno se vade, pakirane u kutije | Cotton wipes, absorbent, soft, nonabrasive, antistatic, don't leave residues, dispensed individually, packed in boxes | komad/piece | 180000
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 12
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
12 | Grupa 12: ENZIMI | Group 12: ENZYMES
12.1. | N-Glikozidaza F (PNGaza F), enzim koji katalizira cijepanje N-vezanih oligosaharida, rekombinantna, klonirana iz Elizabethkingia miricola i prekomjerno eksprimirana u E. coli, 95 % čistoće prema SDS-PAGE-u (ili jednakovrijedno), isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 5mM EDTA pri koncentraciji 10,000 U/ml, volumen pojedinačnih pakiranja 30-100 μl, s rokom trajanja minimalno 1 godinu nakon dana isporuke | N-Glycosidase F (PNGase F), enzyme that catalyzes the cleavage of N-linked oligosaccharides, recombinant, cloned from Elizabethkingia miricola and overexpressed in E. coli, 95 % purity by SDS-PAGE(or equivalent),, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 5mM EDTA at a concentration of 10,000 U/ml, individual packaging volume 30-100 μl, expiration date of minimally 1 year after delivery date | jedinica / unit (U) | 45 000
12.2. | Enzim koji cijepa imunoglobulin G iz Streptococcus pyogenes (IdeS), molekularna težina cca 37 kDa, visokospecifična proteaza koja cijepa imunoglobulin G (IgG) na jedinstvenom mjestu ispod tzv. hinge regije, pri čemu nastaju F(ab')2 i Fc fragmenti; rekombinantna, klonirana iz S. pyogenes i prekomjerno eksprimirana u Escherichia coli; čistoće minimalno 95% prema SDS-PAGE-u (ili jednakovrijedno); liofilizirana iz 50 mM natrijevog fosfata, 150 mM NaCl (pH 6.6); maksimalna količina u individualnom pakiranju 5000 U (1 jedinica se definira kao količina enzima dovoljna za digestiju minimalno 95% 1 µg rekombinantnog monoklonalnog IgG u 30 min pri 37°C); jedinična aktivnost za svaki lot potvrđena cijepanjem monoklonalnog rekombinantnog IgG i potvrđena pomoću SDS PAGE; preporučena koncentracija ciljnog IgG 0.5-20 mg/mL; pohrana liofiliziranog enzima pri -20°C; rok trajanja liofiliziranog enzima najmanje 1 godinu nakon datum isporuke; liofilizirani enzim rekonstituira se u vodi i pohranjuje uz očuvanje originalne aktivnosti minimalno 60 dana. | The immunoglobulin-degrading enzyme from Streptococcus pyogenes (IdeS), molecular weight cca 37 kDa, a highly specific protease that cleaves immunoglobulin G (IgG) at a single site below the hinge region, thus yielding F(ab')2 and Fc fragments; recombinant, cloned from S. pyogenes and overexpressed in Escherichia coli; purity at least 95%, confirmed by SDS PAGE (or equivalent); lyophilised from 50 mM sodium phosphate, 150 mM NaCl (pH 6.6); maximal individual packaging amount 5000 U (1 unit is defined as the amount of enzyme sufficient to digest at least 95% of 1 µg of recombinant monoclonal IgG in 30 min at 37°C), unit activity for each lot confirmed by the cleavage of monoclonal recombinant IgG and confirmed by SDS PAGE; recommended target IgG concentration 0.5-20 mg/mL; lyophilized enzyme to be stored at -20°C; expiration date of lyophilised enzyme minimally 1 year after delivery date; lyophilised enzyme to be reconstitued by water; reconstitued enzyme to be stored while retaining original activity for at least 60 days. | jedinica / unit (U) | 20 000
12.3. | Tripsin, serinska proteaza koja specifično cijepa karboksilni kraj aminokiselina lizin i arginin, čistoće za sekvenciranje, maksimalne aktivnosti u rasponu pH 7-9, svinjski, modificiran reduktivnom metilacijom radi otpornosti na proteolitičku razgradnju, isporučuje se kao liofiliziran, s rokom trajanja minimalno 1 godinu nakon dana isporuke | Trypsin, serine protease that specifically cleaves at the carboxylic side of lysine and arginine residues, sequencing grade, maximally active in the pH range of 7–9, porcine, modified by reductive methylation rendering it resistant to proteolytic digestion, supplied as lyophilized, expiration date of minimally 1 year after delivery date | mg | 20
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 13
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
13 | Grupa 13: ORGANSKA OTAPALA | Group 13: ORGANIC SOLVENTS
13.1. | 2-propanol ACS reagens 99.5%, pakiranje do 3 L | 2-propanol ACS reagent 99.5%, packaging up to 3 L | l | 40
13.2. | 2-propanol LC-MS >=99.9%, pakiranje do 3 L | 2-propanol LC-MS >=99.9%, packaging up to 3 L | l | 40
13.3. | Acetonitril, čistoće LC-MS, pojedinačna pakiranja do 3 L | Acetonitrile LC MS grade, individual packaging up to 3 L | l | 1100
13.4 | Acetonitril HPLC gradijent kvalitete, pakiranje do 3 L | Acetonitril HPLC gradient grade, packaging up to 3 L | l | 800
13.5. | Etanol, nedenaturirani, apsolutni, puriss.p.a., >=99,8% (GC), pojedinačna pakiranja do 3 L | Ethanol, nondenatured, absolute, puriss.p.a., >=99,8% (GC), individual packaging up to 3 L | l | 70
13.6. | Etanol denaturirani, 96% PH. EUR (ili jednakovrijedno). Pa, pojedinačna pakiranja do 10 L | Ethanol denatured, 96% PH. EUR (or equivalent). Pa, individual packaging up to 10 L | l | 130
13.7. | Metanol prikladan za LC-MS, pakiranje do 3 L | Methanol LC-MS grade, packaging up to 3 L | l | 50
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 14
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
14 | Grupa 14: KISELINE | Group 14: ACIDS
14.1. | Trifluoroctena kiselina za HPLC >=99%, pojedinačna pakiranja od po 1 ml | Trifluoroacetic acid for HPLC >=99%, individual packagings of 1 ml | ml | 50
14.2. | Trifluoroctena kiselina, 99%, pojedinačna pakiranja do 100 ml | Trifluoroacetic acid, ReagentPlus 99%, individual packaging up to 100 ml | ml | 500
14.3. | Klorovodična kiselina, minimalna čistoća 36,5%, pojedinačna pakiranja u staklenoj boci do 1 l | Hydrocloric acid, min 36.5 % p.a., individual packaging in glass bottle up to 1 l | l | 2
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
| Datum, mjesto: | M.P. Za ponuditelja: |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
____________________

## Grupa 15
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
15 | Grupa 15: KEMIKALIJE ZA PRIMJENU U MOLEKULARNOJ BIOLOGIJI | Group 15: CHEMICALS FOR MOLECULAR BIOLOGY APPLICATIONS
15.1. | Kompleks 2-metilpiridin borana (2-pikolin borana), redukcijsko sredstvo za obilježavanje oligosaharida reakcijom reduktivne aminacije. Čistoća: 95%, pakiranja do 10 g | 2-Methylpyridine borane complex solution (2-Picoline borane complex), reducing agent for the labeling of oligosaccharides by reductive amination. Assay: 95%, packaging up to 10 g | g | 70
15.2. | Kalijev klorid (KCl), čistoće za molekularnu biologiju, pojedinačnopakiranje do 0.5 kg | Potassium chloride (KCl) molecular biology grade, individual packaging up to 0.5 kg | kg | 6
15.3. | Natrijev dodecil-sulfat (SDS), ultračist, za primjenu u molekularnoj biologiji, pogodan za elektroforezu, prah, pojedinačno pakiranje do 1 kg | Sodium dodecil sulfate (SDS), UltraPure, suitable for molecular biology, suitable for electrophoresis, powder, individual packaging up to 1 kg | kg | 2
15.4. | Poliakrilamidna zrnca veličine od 45-90 um, za kromatografiju isključenem po veličini i gel filtraciju u rasponu od 1500 do 20000 daltona, izrazite hidrofilnosti, u pakiranju do 100 g | Polyacrylamide beads, size 45-90 um, for size exclusion cromatography and gel filztration in the range starting from 1500 up to 20000 daltons, highly hidrophylic, individual packaging up to 100 g. | g | 1000
15.5. | Tris(hidroksimetil)aminometan, za molekularnu biologiju, >=99.8%, pojedinačna pakiranja do 1 kg | Tris(hydroxymethyl)aminomethane, for molecular biology, >=99.8% individual packagi9ng up to 1 kg | kg | 2
15.6. | Amonijev bikarbonat ultra biološke čistoće , >= 99.5% (T), pojedinačna pakiranja do 1 kg | Ammonium bicarbonate ultra biological purity, >= 99.5% (T), individual packaging up to 1 kg | kg | 2
15.7. | Dimetil sulfoksid za molekularnu biologiju, >=99.9%, pojedinačna pakiranja do 250 ml | Dimethyl sulfoxide for molecular biology, >=99.9%, individual packaging up to 250 ml | ml | 2000
15.8. | EDTA, Eetilendiamintetraoctena kiselina, natrijeva sol, ultra čist, prikladan za molekularnu biologiju, pojedinačno pakiranje do 0.5 kg | EDTA, Ethylenediaminetetraacetic Acid, Disodium Salt, UltraPure, Molecular Biology Grade, individual packaging up to 0.5 kg | g | 1000
15.9. | Limunska kiselina monohidrat, krutina, ACS reagens, čistoće ≥99.0%, pakiranje do 500g. | Citric acid monohydrate, solid, ACS reagent, purity ≥99.0%. Packaging up to 500 g. | g | 500
15.10. | Trietilamin, tekućina, čistoće ≥99.5%, pakiranja do 100 ml. | Triethilyamine, liquid, purity ≥99.5%, packaging up to 100 ml. | ml | 300
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
| Datum, mjesto: | M.P. Za ponuditelja: |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
____________________

## Grupa 16
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
16 | Grupa 16: KEMIKALIJE ZA GEL ELEKTROFOREZU PROTEINA | Group 16: CHEMICALS FOR PROTEIN GEL ELECTROPHORESIS
16.1. | 4-12% Bis-Tris gelovi: pojedinačno pakirani gotovi poliakrilamidni gelovi za optimalno razdvajanje malih do srednje velikih proteina u denaturacijskim uvjetima, kompatibilni sa sustavom za SDS-PAGE elektroforezu XCell SureLock™ Mini-Cell, veličina gela: 8 cm x 8 cm, debljina gela: 1.0 mm, 12 jažica, pakiranja do 10 komada | 4-12% Bis-Tris Gels: individually packed precast polyacrylamide gels for optimal separation of small- to medium-sized proteins under denaturing conditions, compatible with XCell SureLock™ Mini-Cell Electrophoresis System by Life Technologies, gel size: 8 cm x 8 cm, gel thickness: 1.0 mm, 12-well, individual packaging up to 10 pieces | komad/piece | 100
16.2. | Coomassie boja koja omogućava utraosjetljivu detekciju proteina u jednom koraku na poliakrilamidnom gelu, osjetljivost - 9 ng proteina po vrpci u 15 minuta, nekorozivna za kožu, nezapaljiva, ne zahtijeva otopine za fiksiranje na bazi kiseline ili metanola, pogodna za bojenje poliakrilamidnih gelova i nitroceluloznih i PVDF membrana, kompatibilna s analizom proteina spektrometrijom masa, može se čuvati na sobnoj temperaturi do godinu dana, pojedinačna pakiranja do 1 l | Coomassie-dye reagent that provides one-step ultrasensitive detection of proteins in polyacrylamide gels, sensitivity - 9 ng of protein per band in 15 minutes, non-corrosive to skin, non-flammable, doeasn't require acid-fixative or methanol destain solutions, suitable for staining polyacrylamide gels and nitrocellulose and PVDF membranes, compatible with downstream analysis by mass spectrometry, can be stored at room temperature for up to one year, individual packaging up to 1 l | l | 10
16.3. | Pufer za elektroforezu koji sadrži MES i SDS, koncentriran, preporučen za razdvajanje malih do srednje velikih proteina, kompatibilan s elektroforezom proteina na gotovim 4-12% Bis-Tris poliakrilamidnim gelovima, sastav 1X pufera: 50 mM MES, 50 mM Tris, 0.1% SDS, 1 mM EDTA, pH 7.3; pojedinačna pakiranja do 0.5 l | MES SDS Running Buffer, concentrated, recommended for separating small- to medium-sized proteins, compatible for running proteins on 4-12% Bis-Tris precast polyacrylamide gels, formulation of 1x buffer: 50 mM MES, 50 mM Tris Base, 0.1% SDS, 1 mM EDTA, pH 7.3; individual packaging up to 0.5 l | l | 8
16.4. | Proteinski marker za elektroforezu proteina, s bojom, spreman za upotrebu, bez potrebe dodavanja pufera za uzorke i prethodnog zagrijavanja i redukcije, raspon molekulskih masa otprilike između 10 i 250 kDa, pojedinačna pakiranja do 500 uL | Protein ladder for electrophoresis, prestained, , ready-to-use, no need to add sample buffer prior to use, no need to heat or reduce, molecular weights approximately in the range of 10 to 250 kDa, individual packaging up to 500 uL | uL | 1000
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
| Datum, mjesto: | M.P. Za ponuditelja: |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
____________________

## Grupa 17
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
17 | Grupa 17: KEMIKALIJE I POTROŠNI MATERIJAL ZA KAPILARNU ELEKTROFOREZU | Group 17: CHEMICALS AND CONSUMABLES FOR CAPILLARY ELECTROPHORESIS
17.1. | Standardni kit koji sadrži 5 obilježenih oligonukleotida, koji se koristi za generiranje složene matrice u otopini 1x TE. Za analizu DNA fragmenata obilježenih sa 6-FAM™, VIC®, NED™, PET® i LIZ® na uređaju za sekvenciranje Aplied Biosystems 3130, 3500 i 3730. Sadrži količinu dovoljnu za 8 analiza. | Standard kit that contains 5 dye labeled oligonucleotides used for generating the multicomponent matrix in a 1X TE solution. For analysis of 6-FAM™, VIC®, NED™, PET®, and LIZ® - labeled DNA fragments on the Applied Biosystems® 31xx, 3500 and 3730 Series Systems. Amount for 8 runs. | komad/piece | 3
17.2. | Standard veličine označen s LIZ® za ponovljivu analizu fragmenata. Sadrži 16 LIZ obilježenih jednolančanih DNA fragmenata u rasponu 35-500 nukleotida: 35, 50, 75, 100, 139, 150, 160, 200, 250, 300, 340, 350, 400, 450, 490 i 500 nukleotida. Označeni fragmenti DNA rezultiraju jednim pikom kada se analiziraju u denaturirajućim uvjetima. Za upotrebu na uređajima za sekvenciranje Applied Biosystems 3130, 3500 i 3730. Sadrži količinu dovoljnu za 800 reakcija. | Size standard labeled with LIZ® for the reproducible sizing of fragment analysis data. Contains 16 LIZ labeled single stranded DNA fragments in the 35-500 nucleotides range: 35, 50, 75, 100, 139, 150, 160, 200, 250, 300, 340, 350, 400, 450, 490 and 500 nucleotides. Labeled DNA fragments result in a single peak when run under denaturing conditions. For use on the Applied Biosystems 3130, 3500 and 3730 Genetic Analyzers. Amount for 800 reactions. | pakiranje/packaging | 4
17.3. | Standard veličine označen s LIZ® za ponovljivu analizu fragmenata. Nudi povećanu usklađenost između prozvodnih serija i ravnotežu između visina pikova. Sadrži 36 LIZ obilježenih jednolančanih DNA fragmenata u rasponu 20-600 nukleotida: 20, 40, 60, 80, 100, 114, 120, 140, 160, 180, 200, 214, 220, 240, 250, 260, 280, 300, 314, 320, 340, 360, 380, 400, 414, 420, 440, 460, 480, 500, 514, 520, 540, 560, 580 i 600 nukleotida.. Za upotrebu na Applied Biosystems 3130, 3500 i 3730 uređajima za sekvenciranje. Sadrži količinu dovoljnu za 800 reakcija. | Size standard with LIZ® for the reproducible sizing of fragment analysis data. Incorporates manufacturing process enhancements for improved lot to lot consistency and peak height balance. Contains 36 LIZ® dye-labeled, single-stranded DNA fragments between 20 and 600 bp:20, 40, 60, 80, 100, 114, 120, 140, 160, 180, 200, 214, 220, 240, 250, 260, 280, 300, 314, 320, 340, 360, 380, 400, 414, 420, 440, 460, 480, 500, 514, 520, 540, 560, 580 and 600. For use on the Applied Biosystems 3130, 3500 and 3730 Genetic Analyzers. Amount for 800 reactions. | pakiranje/packaging | 2
17.4. | Prozirne robotske PCR pločice sa 96 jažica, niskog profila, obrubljene, za upotrebu s termalnim cikličkim uređajima, SBS otisak i mogućnost slaganja za upotrebu u automatskim sustavima, odrezani ugao: H1, dostupan tehnički nacrt proizvoda, volumen jažica: 0.2 mL, pojedinačna pakiranja do 10 komada | Clear robotic 96-well PCR plate, low profile, skirted, for use with thermal cyclers, SBS footprint and stackable for use in automated systems, Cut Corner: H1, accessible technical drawing of the product, well volume: 0.2 mL, individual packaging up to 10 pieces | komad/piece | 1300
17.5. | Polipropilenske optičke reakcijske pločice sa 96 jažica, neobrubljene, kompatibilne sa Applied Biosystems real-time PCR sustavima za 96 jažica i termalnim cikličkim uređajima, dizajnirane za iznimnu temperaturnu točnost i uniformnost za brze učinkovite amplifikacije PCR-om, bez ulja, izrađene od jednog rigidnog komada polipropilena, mat materijal kako bi se smanjile fluorescentne interferencije iz jažica ciklirajućeg bloka, testirane kako bi se uklonile pločice koje same fluoresciraju, dizajnirane kako bi osiguravale barijeru prema okolnom zraku te osigurala temperaturna uniformnost od jažice do jažice, volumen jažica 0.2 ml, pojedinačna pakiranja do 10 komada | Polypropylene optical 96-well reaction plate, non-skirted, compatible with Applied Biosystems 96-well Real-Time PCR systems and thermal cyclers, designed to provide unmatched temperature accuracy and uniformity for fast, efficient oil-free PCR amplification, constructed from a single rigid piece of polypropylene, frosted to minimize interfering fluorescence from wells of cycling block, screened to eliminate auto-fluorescent plates, designed to provide a barrier to ambient air to ensure well-to-well temperature uniformity, well volume 0.2 ml, individual packagings up to 10 pieces | komad/piece | 800
17.6. | Hi-Di formamid, tekućina, za upotrebu u istraživanjima na uređaju za sekvenciranje Applied Biosystems, visoko deionizirani formamid za resuspendiranje uzoraka prije elektrokinetičkog injektiranja u sustav za kapilarnu elektroforezu, pojedinačna pakiranja od 25 ml | Hi-Di formamide, liquid, for reasearch use on Applied Biosystems Genetic Analyzers, highly deionized formamide used to resuspend samples before electrokinetic injection on capillary electrophoresis systems, individual packaging of 25 ml | komad/piece | 20
17.7. | Septe za pločice, formata za pločice sa 96 jažica, za upotrebu na uređaju za sekvenciranje Applied Biosystems 3500/3500xL, pakiranje do 20 komada | Plate Septa, 96 well format, for use with Applied Biosystems 3500/3500xl Genetic Analyzers, packaging up to 20 pieces | komad/piece | 220
17.8. | Septe za rezervoare katodnog pufera, za upotrebu na uređaju za sekvenciranje Applied Biosystems 3500/3500xL, pakiranje do 10 komada. | Cathode buffer reservoir septa, for use with Applied Biosystems 3500/3500xL Genetic Analyzers, packaging up to 10 pieces. | komad/piece | 100
17.9. | Posuda s anionskim puferom, sadrži 1X pufer za analizu, za uporabu na uređaju za sekvenciranje Applied Biosystems 3500/3500xL, s RFID oznakom, pakiranje do 4 komada | The anode buffer container, contains 1x running buffer for use with Applied Biosystems 3500/3500xL Genetic Analyzers, RFID tagged, packaging up to 4 pieces. | komad/piece | 72
17.10. | Posuda s katodnim puferom, sadrži 1X pufer za analizu, za uporabu na uređaju za sekvenciranje Applied Biosystems 3500/3500xL, s RFID oznakom, pakiranje do 4 komada | The cathode buffer container, contains 1x running buffer for use with Applied Biosystems 3500/3500xL Genetic Analyzers, RFID tagged, packaging up to 4 pieces | komad/piece | 72
17.11. | POP-7 matrica za razdvajanje za upotrebu na uređaju za sekvenciranje Applied Biosystems 3500/3500xL, formulirana za sekvenciranje i analizu fragmenata, u vrećici za jednokratnu upotrebu, s RFID oznakom. Sadrži količinu dovoljnu za 384 uzorka. | POP-7 separation matrix for use with Applied Biosystems 3500/3500xL Genetic Analyzer, formulated for sequencing and fragment analysis, in a single-use pouch, RFID tagged. Amount for 384 samples. | pakiranje/package | 85
17.12. | POP-4 matrica za razdvajanje za upotrebu na uređaju za sekvenciranje Applied Biosystems 3500/3500xL, posebno formulirana za identifikaciju ljudi i forenziku, u vrećici za jednokratnu upotrebu, s RFID oznakom. Sadrži količinu dovoljnu za 384 uzorka. | POP-4 separation matrix for use with Applied Biosystems 3500/3500xL Genetic Analyzer, formulated for human identification and forensic applications, in a single-use pouch, RFID tagged. Amount for 384 samples. | pakiranje/package | 45
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
| Datum, mjesto: | M.P. Za ponuditelja: |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
____________________

## Grupa 18
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
18 | Grupa 18: OSTALE KEMIKALIJE | Group 18: OTHER CHEMICALS
18.1. | 8-aminopiren-1,3,6-trisulfonska kiselina, trinatrijeva sol (APTS)- fluorescentni reagens za proučavanje ugljikohidrata kapilarnom elektroforezom. Čistoće ≥96.0%, pokazan da posjeduje visoku razinu osjetljivosti detekcije za šećere kada se koristi s 488 nm argonskim laserom. Pakiranja do 25 mg. | 8-Aminopyrene-1,3,6-trisulfonic acid trisodium salt (APTS)-fluorescence reagent for the studies of carbohydrate molecules by capillary electrophoresis. Purity ≥96.0%, shown to have high level of detection sensitivity when using a 488 nm argon-ion laser. Packaging up to 25 mg. | mg | 850
18.2. | Kalij-dihidrogenfosfat (KH2PO4), ACS reagens, >=99%, pojedinačna pakiranja do 1 kg | Potasium phosphate monobasic (KH2PO4), ACS reagent >=99%, individual packaging up to 1 kg | kg | 4
18.3. | Natrijev klorid (NaCl), čistoće p.a., pojedinačna pakiranja do 1 kg | Sodium chloride (NaCl), p.a., individual packaging up to 1 kg | kg | 30
18.4. | Natrijev hidrogenfosfat (Na2HPO4), čistoće p.a., pojedinačna pakiranja do 1 kg | Sodium phosphate dibasic (Na2HPO4), p.a., individual packaging up to 1 kg | kg | 4
18.5. | Koncentrirani deterdžent za ručno pranje laboratorijskog posuđa, tekućina, pojedinačna pakiranja do 1 l | Concentrated detergent for hand washig of laboratory dishes, liquid, individual packaging up to 1 l | l | 100
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
| Datum, mjesto: | M.P. Za ponuditelja: |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
____________________