## GRUPA 1
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
1 | GRUPA 1 - Enzimi | GROUP 1 - Enzymes
1.1. | Sijalidaza/Neuraminidaza, enzim koji katalizira cijepanje α2-3 vezane sijalinske kiseline sa oligosaharida i glikoproteina, klonirana iz Streptococcus pneumoniae, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 1mM EDTA pri koncentraciji 8,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 1 godinu nakon dana isporuke | Sialidase/Neuraminidase, enzyme that catalyzes the hydrolysis of α2-3 linked N-acetylneuraminic acid residues from oligosaccharides and glycoproteins, cloned from Streptococcus pneumoniae, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 1mM EDTA at a concentration of 8,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 1 year after delivery date | jedinica / unit (U) | 4400
1.2. | Sijalidaza/Neuraminidaza, enzim koji katalizira cijepanje terminalne (α2-3,6,8,9 vezane) sijalinske kiseline sa oligosaharida i glikoproteina, klonirana iz Arthrobacter ureafaciens, ≥ 95% čistoće prema SDS-PAGE-u, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 1mM EDTA pri koncentraciji 20,000 U/ml, volumen pojedinačnih pakiranja 25-200 μl, s rokom trajanja minimalno 1 godinu nakon dana isporuke | Sialidase/Neuraminidase, enzyme that catalyzes the cleavage of terminal (α2-3,6,8,9 linked) sialic acid from oligosaccharides and glycoproteins, cloned from Arthrobacter ureafaciens, ≥ 95 % purity by SDS-PAGE, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 1mM EDTA at a concentration of 20,000 U/ml, individual packaging volume 25-200 μl, expiration date of minimally 1 year after delivery date | jedinica / unit (U) | 24000
1.3. | β 1-4 galaktozidaza, enzim koji katalizira cijepanje terminalne galaktoze vezane β 1-4 vezom, visoka specifičnost enzima, klonirana iz Streptococcus pneumoniae, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 1mM EDTA pri koncentraciji 8,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 1 godinu nakon dana isporuke | β 1-4 galactosidase, enzyme that catalyzes the cleavage of terminal β 1-4 linked galactose, highly specific, cloned from Streptococcus pneumoniae, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 1mM EDTA at a concentration of 8,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 1 year after delivery date | jedinica / unit (U) | 3200
1.4. | β 1-3 galaktozidaza, enzim koji katalizira cijepanje terminalne galaktoze vezane β 1-3 vezom, visoka specifičnost enzima, klonirana iz Xanthomonas manihotis i eksprimirana u E. coli, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 1mM EDTA pri koncentraciji 10,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 1 godinu nakon dana isporuke | β 1-3 galactosidase, enzyme that catalyzes the cleavage of terminal β1-3 linked galactose, highly specific, cloned from Xanthomonas manihotis and expressed in E. coli, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 1mM EDTA at a concentration of 10,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 1 year after delivery date | jedinica / unit (U) | 2000
1.5. | α1-3,4,6 galaktozidaza, enzim koji katalizira cijepanje terminalne galaktoze vezane α1-3, α1-4 and α1-6 vezom, visoka specifičnost enzima, klonirana iz zelenog zrna kave i eksprimirana u E. coli, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 1mM EDTA pri koncentraciji 8,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 1 godinu nakon dana isporuke | α1-3,4,6 galactosidase, enzyme that catalyzes the cleavage of terminal α1-3, α1-4 and α1-6 linked galactose, highly specific, cloned from green coffee bean and expressed in E. coli, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 1mM EDTA at a concentration of 8,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 1 year after delivery date | jedinica / unit (U) | 1000
1.6. | β N-Acetilglukosaminidaza, enzim koji katalizira cijepanje terminalnog N-acetilglukozamina vezanog beta (β) vezom, klonirana iz Streptococcus pneumoniae, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 1mM EDTA pri koncentraciji 4,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 6 mjeseci nakon dana isporuke | β N-Acetylglucosaminidase, enzyme that catalyzes the cleavage of terminal beta-linked N-Acetylglucosamine, cloned from Streptococcus pneumoniae, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 1mM EDTA at a concentration of 4,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 6 months after delivery date | jedinica / unit (U) | 1000
1.7. | α manozidaza, enzim koji katalizira cijepanje terminalne manoze vezane alfa (α) vezom (α1-2, α1-3 i α1-6), klonirana iz Canavalia ensiformis i eksprimirana u Pichia pastoris, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C) i 50mM NaCl pri koncentraciji 2,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 6 mjeseci nakon dana isporuke | α mannosidase, enzyme that catalyzes the cleavage of terminal alpha-linked mannose (α1-2, α1-3 and α1-6 linked mannose), cloned from Canavalia ensiformis and expressed in Pichia pastoris, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C) and 50mM NaCl at a concentration of 2,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 6 months after delivery date | jedinica / unit (U) | 640
1.8. | α manozidaza, enzim koji katalizira cijepanje terminalne manoze vezane alfa (α) vezom (α1-6 vezane manoze), klonirana iz Xanthomonas manihotis, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C) i 50mM NaCl pri koncentraciji 40,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 6 mjeseci nakon dana isporuke | α mannosidase, enzyme that catalyzes the cleavage of terminal alpha-linked mannose (α1-6 linked mannose), Cloned from Xanthomonas manihotis, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C) and 50mM NaCl at a concentration of 40,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 6 months after delivery date | jedinica / unit (U) | 1600
1.9. | α fukozidaza, enzim koji katalizira cijepanje linearne fukoze vezane alfa vezom (α1-2) sa oligosaharida, klonirana iz Xanthomonas manihotis, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 1mM EDTA pri koncentraciji 20,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 6 mjeseci nakon dana isporuke | α fucosidase, enzyme that catalyzes the hydrolysis of linear α1-2 linked fucose from oligosaccharides, cloned from Xanthomonas manihotis, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 1mM EDTA at a concentration of 20,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 6 months after delivery date | jedinica / unit (U) | 1000
1.10. | α fukozidaza, enzim koji katalizira hidrolizu terminalne, nereducirajuće α1-3 i α1-4 povezane fukoze, klonirana iz Prunus dulcis i eksprimirana u Pichia pastoris, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 1mM EDTA pri koncentraciji 4,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 6 mjeseci nakon dana isporuke | α fucosidase, enzyme that catalyzes the hydrolysis of terminal, non-reducing α1-3 and α1-4 linked fucose, cloned from Prunus dulcis and expressed in Pichia pastoris, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 1mM EDTA at a concentration of 4,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 6 months after delivery date | jedinica / unit (U) | 200
1.11. | α fukozidaza O, enzim koji katalizira cijepanje terminalne fukoze vezane alfa (α) vezom (α1-2, α1-4 i α1-6 vezane fukoze), veća specifičnost/efikasnost cijepanja fukoze vezane α1-6 vezom nego fukoze vezane drugim vezama za oligosaharid, klonirana iz Omnitrophica bacterium i eksprimirana u E. coli, ≥ 95% čistoće prema SDS-PAGE-u, bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 1mM EDTA pri koncentraciji 2,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl, s rokom trajanja minimalno 6 mjeseci nakon dana isporuke | α fucosidase O, enzyme that catalyzes the cleavage of terminal alpha-linked fucose (α1-2, α1-4 and α1-6 linked fucose), higher cleavage specificity/efficiency for α1-6-linked fucose than for other fucose linkages, cloned from Omnitrophica bacterium and expressed in E. coli, ≥ 95 % purity by SDS-PAGE, glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 1mM EDTA at a concentration of 2,000 U/ml, individual packaging volume 25-100 μl, expiration date of minimally 6 months after delivery date | jedinica / unit (U) | 400
1.12. | Endoglikozida specifična za cijepanje N-vezanih glikana s kitobiozne jezgre na teškom lancu nativnog IgG-a, obilježena s domenom koja veže kitin radi jednostavnog uklanjanja iz smjese, čistoće ≥95% prema SDS-PAGE-u (ili jednakovrijedno), bez glicerola, isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 5mM EDTA pri koncentraciji 200,000 U/ml, volumen pojedinačnih pakiranja 25-100 μl. | Endoglycosidase specific for cleaving the N-linked glycans from the chitobiose core of the heavy chain of native IgG, tagged with a chitin-binding domain (CBD) for easy removal, ≥95% purity as determined by SDS-PAGE (or equivalent), glycerol-free, supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 5mM EDTA at a concentration of 200,000 U/ml, individual packaging volume 25-100 μl. | jedinica / unit (U) | 12000
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 2
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
2 | GRUPA 2 - Reagensi za gel elektroforezu | GROUP 2 - Chemicals for gel electrophoresis
2.1. | 4-12% Bis-Tris gelovi: pojedinačno pakirani gotovi poliakrilamidni gelovi za optimalno razdvajanje malih do srednje velikih proteina u denaturacijskim uvjetima, kompatibilni sa sustavom za SDS-PAGE elektroforezu XCell SureLock™ Mini-Cell, veličina gela: 8 cm x 8 cm, debljina gela: 1.0 mm, 12 jažica, pojedinačna pakiranja do 10 komada | 4-12% Bis-Tris Gels: individually packed precast polyacrylamide gels for optimal separation of small- to medium-sized proteins under denaturing conditions, compatible with XCell SureLock™ Mini-Cell Electrophoresis System by Life Technologies, gel size: 8 cm x 8 cm, gel thickness: 1.0 mm, 12-well, individual packaging up to 10 pieces | komad/piece | 60
2.2. | Coomassie boja koja omogućava utraosjetljivu detekciju proteina u jednom koraku na poliakrilamidnom gelu, osjetljivost - 9 ng proteina po vrpci u 15 minuta, nekorozivna za kožu, nezapaljiva, ne zahtijeva otopine za fiksiranje na bazi kiseline ili metanola, pogodna za bojenje poliakrilamidnih gelova i nitroceluloznih i PVDF membrana, kompatibilna s analizom proteina spektrometrijom masa, može se čuvati na sobnoj temperaturi do godinu dana, pojedinačna pakiranja do 1 L | Coomassie-dye reagent that provides one-step ultrasensitive detection of proteins in polyacrylamide gels, sensitivity - 9 ng of protein per band in 15 minutes, non-corrosive to skin, non-flammable, doeasn't require acid-fixative or methanol destain solutions, suitable for staining polyacrylamide gels and nitrocellulose and PVDF membranes, compatible with downstream analysis by mass spectrometry, can be stored at room temperature for up to one year, individual packaging up to 1 L | boca/bottle | 2
2.3. | Pufer za elektroforezu koji sadrži MES i SDS, koncentriran, preporučen za razdvajanje malih do srednje velikih proteina, kompatibilan s elektroforezom proteina na gotovim 4-12% Bis-Tris poliakrilamidnim gelovima, sastav 1X pufera: 50 mM MES, 50 mM Tris, 0.1% SDS, 1 mM EDTA, pH 7.3; pojedinačna pakiranja do 0.5 L | MES SDS Running Buffer, concentrated, recommended for separating small- to medium-sized proteins, compatible for running proteins on 4-12% Bis-Tris precast polyacrylamide gels, formulation of 1x buffer: 50 mM MES, 50 mM Tris Base, 0.1% SDS, 1 mM EDTA, pH 7.3; individual packaging up to 0.5 L | boca/bottle | 3
2.4. | Proteinski marker za elektroforezu proteina, s bojom, spreman za upotrebu, bez potrebe dodavanja pufera za uzorke i prethodnog zagrijavanja i redukcije, raspon molekulskih masa otprilike između 10 i 250 kDa, pojedinačna pakiranja do 500 µL | Protein ladder for electrophoresis, prestained, ready-to-use, no need to add sample buffer prior to use, no need to heat or reduce, molecular weights approximately in the range of 10 to 250 kDa, individual packaging up to 500 µL | boca/bottle | 2
2.5. | DNA marker za analizu malih fragmenata deoksiribonukleinske kiseline raspona veličine 50-500 bp, spreman za upotrebu, prethodno neobojen, konc.: 0.1 μg DNA/μl, broj fragmenata 10, broj traka po ml približno 200 (mini gelovi), Orange G uključen kao boja, količina 500 μl | DNA marker/ladder for the analysis of small deoxyribonucleic acid fragments size range 50-500 bp, ready-to-use, not prestained, conc.: 0,1 μg DNA/μl, number of fragments 10, number of lanes per ml approx. 200 (mini gels), Orange G included as dye, amount of 500 μl | bočica/bottle | 1
2.6. | Agarozni aditiv za gel elektroforezu, sinergističko sredstvo za želiranje i prosijavanje koje se sastoji od modificiranog polisaharida, ≥99 %, pruža vrhunsko odvajanje i definiciju fragmenata deoksiribonukleinske kiseline od 10 bp do 30 kb, bez DNAse, bez RNAse, pruža veliku optičku jasnoću gelova, količina 10 g | Agarose additive for gel electrophoresis, synergistic gelling and sieving agent consisting of a modified polysaccharide, ≥99 %, providing superior separation and definition of deoxyribonucleic acid fragments from 10bp up to 30kb, DNAse-free, RNAse-free, provides great optical clarity of gels, amount of 10g | bočica/bottle | 1
2.7. | Otopina pufera: 10 mM Tris-HCl, 1 mM dinatrijev EDTA, pH 8.0, koristi se u staničnoj i molekularnoj biologiji za procese kao što su ekstrakcija i pročišćavanje proteina i nukleinskih kiselina te kao pufer za pranje, DNaze nisu otkrivene, RNaze nisu otkrivene, prolazi test filtra, fosfataze nisu otkrivene, proteaze nisu otkrivene, količina 100 ml | Buffer solution: 10 mM Tris-HCl, 1 mM disodium EDTA, pH 8.0, used in cell and molecular biology for processes such as protein and nucleic acid extraction and purification, and as a washing buffer, DNases none detected, RNases none detected, passes filter test, phosphatases none detected, proteases none detected, amount of 100 ml | bočica/bottle | 1
2.8. | Boja za nukleinske kiseline za agarozne i poliakrilamidne gelove sa SYBR Green I kao bojom, koncentrat 10 000 puta u DMSO, osjetljivost najmanje četiri puta veća od etidijevog bromida za deoksiribonukleinsku kiselinu u agaroznim gelovima, metoda detekcije fluorescencije, količina 500 μL | Nucleic acid gel stain for agarose and polyacrylamide gels with SYBR Green I as dye, 10 000X concentrate in DMSO, sensitivity is at least four times greater than ethidium bromide for deoxyribonucleic acid in agarose gels, fluorescence detection method, omount of 500 μL | bočica/bottle | 1
2.9. | TBE pufer (Tris-borat-EDTA), 10x koncentrat, koji se koristi i kao tekući pufer i kao pufer za pripremu gela za elektroforezu nukleinskih kiselina u agaroznim i poliakrilamidnim gelovima (fragmenti manji od 1500 bp), količina 1L | TBE Buffer (Tris-borate-EDTA), 10x concentrate, used both as a running buffer and as a gel preparation buffer for electrophoresis of nucleic acids in agarose and polyacrylamide gels (fragments smaller than 1500 bp), amount of 1L | boca/bottle | 1
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 3
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
3 | GRUPA 3 - Krute kemikalije | GROUP 3 - Solid chemicals
3.1. | Kalij-dihidrogenfosfat (KH2PO4), čistoće >=99%, pojedinačna pakiranja do 1 kg | Potasium phosphate monobasic (KH2PO4), purity >=99%, individual packaging up to 1 kg | kg | 4
3.2. | Natrijev hidrogenfosfat (Na2HPO4), čistoće p.a., pojedinačna pakiranja do 1 kg | Sodium phosphate dibasic (Na2HPO4), p.a., individual packaging up to 1 kg | kg | 4
3.3. | 8-aminopiren-1,3,6-trisulfonska kiselina, trinatrijeva sol (APTS)- fluorescentni reagens za proučavanje ugljikohidrata kapilarnom elektroforezom. Čistoće min. 95%. Pakiranja do 25 mg. | 8-Aminopyrene-1,3,6-trisulfonic acid trisodium salt (APTS)-fluorescence reagent for the studies of carbohydrate molecules by capillary electrophoresis. Purity min. 95%, Packaging up to 25 mg. | mg | 200
3.4. | Kompleks 2-metilpiridin borana (2-pikolin borana), redukcijsko sredstvo za obilježavanje oligosaharida reakcijom reduktivne aminacije. Čistoća: 95%, pakiranja do 10 g | 2-Methylpyridine borane complex solution (2-Picoline borane complex), reducing agent for the labeling of oligosaccharides by reductive amination. Assay: 95%, packaging up to 10 g | g | 100
3.5. | Amonijev bikarbonat ultra biološke čistoće , >= 99.5% (T), pojedinačna pakiranja do 1 kg | Ammonium bicarbonate ultra biological purity, >= 99.5% (T), individual packaging up to 1 kg | kg | 3
3.6. | Kalijev klorid (KCl), čistoće za molekularnu biologiju, pojedinačno pakiranje do 0.5 kg | Potassium chloride (KCl) molecular biology grade, individual packaging up to 0.5 kg | kg | 5
3.7. | Limunska kiselina monohidrat, krutina, p.a., čistoće ≥99.0%, pakiranje do 500g. | Citric acid monohydrate, solid, p.a., reagent, purity ≥99.0%. Packaging up to 500 g. | g | 1000
3.8. | Poliakrilamidna zrnca veličine od 45-90 um, za kromatografiju isključenem po veličini i gel filtraciju u rasponu od 1500 do 20000 daltona, u pakiranju do 100 g | Polyacrylamide beads, size 45-90 um, for size exclusion chromatography and gel filtration in the range starting from 1500 up to 20000 daltons, individual packaging up to 100 g. | g | 1000
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 4
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
4 | GRUPA 4 - Organska otapala i kiseline | GROUP 4 - Organic solvents and acids
4.1. | Acetonitril, čistoće LC-MS, pojedinačna pakiranja do 3 L | Acetonitrile LC MS grade, individual packaging up to 3 L | l | 500
4.2. | Acetonitril HPLC gradijent kvalitete, pakiranje do 3 L | Acetonitril HPLC gradient grade, packaging up to 3 L | l | 400
4.3. | Etanol, nedenaturirani, apsolutni, puriss.p.a., >=99,8% (GC), pojedinačna pakiranja do 3 L | Ethanol, nondenatured, absolute, puriss.p.a., >=99,8% (GC), individual packaging up to 3 L | l | 50
4.4. | Etanol, denaturirani, 95%, pojedinačna pakiranja do 10 L | Ethanol, denatured, 95%, individual packaging up to 10 L | l | 80
4.5. | Metanol prikladan za LC-MS, pakiranje do 3 L | Methanol LC-MS grade, packaging up to 3 L | l | 30
4.6. | Mravlja kselina 98-100% GR ACS, 100 ml | Formic acid 98-100% GR ACS, 100 ml | ml | 400
4.7. | Octena kiselina, ACS reagent, reag. ISO, reag. Ph. Eur., ≥99.8%, litra | Acetic acid Glacial puriss. p.a., ACS reagent, reag. ISO, reag. Ph. Eur., ≥99.8%, liter | l | 5
4.8. | Trietilamin, tekućina, čistoće ≥99.5%, pakiranja do 100 ml. | Triethilyamine, liquid, purity ≥99.5%, packaging up to 100 ml. | ml | 1500
4.9. | Amonijak 25%, p.a., 1L | Ammonia solution 25%, p.a., 1L | l | 2
4.10. | Reagens za dekontaminaciju staklenih i plastičnih površina i posuđa, pogodan za spriječavanje lažno pozitivnih PCR rezultata, eliminira neželjenu dezoksiribonukleinsku kiselinu i DNazu učinkovitije od autoklaviranja, sadrži biocide, spreman za upotrebu, količina 250 ml | Surface decontaminant which eliminates unwanted deoxyribonucleic acid and DNase from glassware, plastic ware, suitable for preventing false-positive PCR results, more effective than autoclaving, contains biocides, ready to use, amount of 250 ml | ml | 1000
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 5
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
5 | GRUPA 5 - Kromatografski reagensi za hidrofilne i hidrofobne separacije | GROUP 5 - Chromatographic reagents for hydrophilic and hydrophobic separations
5.1. | Kapilara punjena C18 stacionarnom fazom za separaciju peptida i glikopeptida, veličina čestica 2.6 µm, čestica sa fuzioniranom jezgrom, omotač čestice iznosi 0,5 µm, površina faze od 150m2/g, veličina pora od 90 Å, unutarnji promjer 100 µm, duljina kapilare 150 mm, maksimalna radna temperatura: 60 °C, maksimalni radni tlak: 600 bar. | Capillary packed with C18 stationary phase for separation of peptides and glycopeptides, 2.6 µm particle size, particles with fused core, particle shell size: 0,5 microns, surface area 150 m2/g, 90 Å pore size, 100 µm inner diameter, 150 mm length, maximal temperature: 60 °C, maximal pressure 600 bar | komad/piece | 5
5.2. | Metalna kapilara punjena C8 stacionarnom fazom za zadržavanje peptida i glikopeptida , unutarnji promjer 300 µm, duljina kapilare 5 mm, veličina čestica 5 µm, veličina pora 120 Å , set od 5 umetaka | Metal capillary packed with C8 stationary phase for trapping peptides and glycopeptides, 300 µm i.d. x 5 mm, 5 µm particle size, 120 Å, set of 5 cartridges | pakiranje/package | 2
5.3. | Metalna kapilara punjena C18 stacionarnom fazom za zadržavanje peptida i glikopeptida, unutarnji promjer 300 µm, duljina kapilare 5 mm, veličina čestica 5 µm, veličina pora 120 Å , set od 5 umetaka | Metal capillary packed with C18 stationary phase for trapping peptides and glycopeptides, 300 µm i.d. x 5 mm, 5 µm particle size, 120 Å, set of 5 cartridges | pakiranje/package | 2
5.4. | Kapilara punjena C18 stacionarnom fazom za separaciju peptida i glikopeptida, veličina čestica 3 µm, potpuno porozne čestice, veličina pora čestica od 100 Å, unutarnji promjer 75 µm, duljina kapilare 150 mm. Sa ugrađenim električnim grijačem do 60 °C i ugrađenim kvarcnim emiterom. Maksimalni radni tlak: 500 bar. | Capillary packed with C18 stationary phase for separation of peptides and glycopeptides, 3 µm particle size, fully porous particles, particle pore size: 100 Å, inner diameter 75 µm, 150 mm length. With built-in electric heater up to 60 °C. Maximal pressure: 500 bar. | pakiranje/package | 2
5.5. | Kapilara s emiterskim vrškom za Bruker CaptiveSpray ionski izvor; unutrašnjeg promjera 20 µm, originalan proizvod | Capillary with emmiter tip for Bruker CaptiveSpray ion source; inner diameter of 20 µm, original product | komad/piece | 5
5.6. | UHPLC Premier amidna kolona, optimizirana za razdvajanje slobodnih 2-AB glikana, sa hibridnim česticama koje sadrže premošćujući etilen, veličina pora: 130 Å, veličina čestica: 1.7µm, i.d.: 2.1 x 150 mm, duljina: 150 mm, tlak do 15 000 Psi, temperatura do 90 °C | UHPLC Premier Amide Glycan column, optimized for released 2-AB glycan separation, with ethylene bridged hybrid particles, pore size: 130 Å, particle size: 1.7µm, i.d.: 2.1 x 150 mm, length: 150 mm, up to 15 000 Psi, max temperature 90 °C | komad/piece | 10
5.7. | UHPLC Premier amidna kolona, optimizirana za razdvajanje slobodnih 2-AB glikana, sa hibridnim česticama koje sadrže premošćujući etilen, veličina pora: 130 Å, veličina čestica: 1.7µm, i.d.: 2.1 x 100 mm, duljina: 100 mm, tlak do 15 000 Psi, temperatura do 90 °C | UHPLC Premier Amide Glycan column, optimized for released 2-AB glycan separation, with ethylene bridged hybrid particles, pore size: 130 Å, particle size: 1.7µm, i.d.: 2.1 x 100 mm, length: 100 mm, up to 15 000 Psi, max temperature 90 °C | komad/piece | 10
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 6
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
6 | GRUPA 6 - Reagensi za PCR | GROUP 6 - Chemicals for PCR
6.1. | Standard matrice za spektralnu kalibraciju koji se sastoji od fragmenata deoksiribonukleinske kiseline obilježenih s pet različitih fluorescentnih boja (fluorescein, JOE, TMR-ET, CXR-ET i WEN) u jednoj epruveti, može se koristiti s bilo kojim od Promega STR sustava za amplifikaciju s 5 boja, kompatibilan s Applied Biosystems 3500 i 3500XL genetskim analizatorom, uključuje 150 μL 5C Matrix Mix i 5x200 μL Matrix Dilution Buffer, količina za 5 preparata | Spectral calibration matrix standard consists of deoxyribonucleic acid fragments labeled with five different fluorescent dyes (fluorescein, JOE, TMR-ET, CXR-ET and WEN) in one tube, can be used with any of the 5-dye Promega STR amplification systems, compatible with Applied Biosystems 3500 and 3500XL Genetic Analyzer, includes 150 μL 5C Matrix Mix and 5x200 μL Matrix Dilution Buffer, amount of 5 preps | pakiranje/package | 1
6.2. | Multiplex sustav koji omogućuje ko-amplifikaciju i detekciju u četiri boje 23 Y-specifična STR lokusa: DYS576, DYS389I/II, DYS448, DYS19, DYS391, DYS481, DYS549, DYS533, DYS438 (penta), DYS437, DYS570, DYS635 , DYS390, DYS439, DYS392, DYS643 (penta), DYS393, DYS458, DYS385a/b, DYS456 i Y-GATA-H4, količina od 50 reakcija | Amplification STR Multiplex System wich allows co-amplification and four-color detection of 23 Y-specific STR loci: DYS576, DYS389I/II, DYS448, DYS19, DYS391, DYS481, DYS549, DYS533, DYS438 (penta), DYS437, DYS570, DYS635, DYS390, DYS439, DYS392, DYS643 (penta), DYS393, DYS458, DYS385a/b, DYS456 and Y-GATA-H4, amount of 50 rxn | pakiranje/package | 1
6.3. | Multipleks od 24 lokusa za genomsku analizu i istraživanje, sustav s pet boja, omogućuje ko-amplifikaciju i fluorescentnu detekciju 13 osnovnih CODIS (US) lokusa (CSF1PO, FGA, TH01, TPOX, vWA, D3S1358, D5S818, D7S820, D8S1179, D13S317, D16S539, D18S51 i D21S11), 12 osnovnih lokusa europskog standardnog skupa (TH01, vWA, FGA, D21S11, D3S1358, D8S1179, D18S51, D10S1248, D22S1045, D2S441, D1S1656 i D12S391 i amelogenin za određivanje spola, za muškarce specifičan lokus DYS391 je uključen za identifikaciju nula- Y alel rezultata za amelogenin, lokusi Penta D, Penta E, D2S1338 i D19S433 uključeni su kako bi se povećala diskriminacija i omogućilo pretraživanje baza podataka koje uključuju profile s ovim popularnim lokusima. Ova proširena ploča STR markera namijenjena je zadovoljiti i CODIS i ESS preporuke, kompatibilan s ABI PRISM 3100 i 3100-Avant genetskim analizatorima i Applied Biosystems 3130, 3130xl, 3500 i 3500xL genetskim analizatorima, količina od 200 reakcija. | 24-locus multiplex for genomic analysis and research, five-color system, allows co-amplification and fluorescent detection of the 13 core CODIS (US) loci (CSF1PO, FGA, TH01, TPOX, vWA, D3S1358, D5S818, D7S820, D8S1179, D13S317, D16S539, D18S51 and D21S11), the 12 core European Standard Set loci (TH01, vWA, FGA, D21S11, D3S1358, D8S1179, D18S51, D10S1248, D22S1045, D2S441, D1S1656 and D12S391, and Amelogenin for gender determination, male-specific DYS391 locus is included to identify null Y allele results for Amelogenin, the Penta D, Penta E, D2S1338 and D19S433 loci are included to increase discrimination and allow searching of databases that include profiles with these popular loci. This extended panel of STR markers is intended to satisfy both CODIS and ESS recommendations, compatible with the ABI PRISM 3100 and 3100-Avant Genetic Analyzers and Applied Biosystems 3130, 3130xl, 3500 and 3500xL Genetic Analyzers, amount for 200 reactions. | pakiranje/package | 1
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 7
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
7 | GRUPA 7 - Reagensi za izolaciju nukleinskih kiselina | GROUP 7 - Chemicals for nucleic acid extraction
7.1. | Set reagencija za pročišćavanje namijenjen za primjenu u molekularnoj biologiji, omogućuje brzo pročišćavanje visokokvalitetne genomske i mitohondrijske dezoksiribonukleinske kiseline iz širokog raspona bioloških uzoraka, uključujući i uzorke u tragovima (tkiva, krv, slina, laserski mikrodisecirani uzorci, koštani uzorci, uzorci zuba, brisevi, filter kartice, mrlje tjelesnih tekućina), pogodan za izolaciju deoksiribonuleindke kiseline iz malih i uzoraka malog volumena, u manje od 30 min, bez uzrokovanja unakrsne kontaminacije uzorka, tehnologija bazirana na silika membranama (kombinira svojstva selektivnog vezivanja membrane na bazi silicij dioksida s fleksibilnim volumenima eluiranja između 20 i 100 μl), potpuno uklanjanje kontaminanata i inhibitora, kit uključuje 50 MinElute centrifugalnih kolona, ​​200 epruveta za sakupljanje (2 ml), proteinazu K (1,25 ml), RNA nosač 310 µg , pufere (50 ml ATL, 33 ml AL, 19 ml AW1, 13 ml AW2, 20 ml ATE), količina dovoljna za 50 reakcija. | Purification kit intended for molecular biology applications, provides rapid purification of high-quality genomic and mitohondrial deoxyribonucleic acid from a wide range of biological samples, including trace samples (tissues, blood, saliva, laser-microdissected specimens, bone and teeth samples, filter cards, body fluid stains), for purification of deoxiribonucleic acid from small sample volumes or sizes, in less than 30 min, no sample-to-sample cross-contamination, silica-based membrane technology (combines the selective binding properties of a silica-based membrane with flexible elution volumes of between 20 and 100 μl), complete removal of contaminants and inhibitors, include 50 MinElute spin columns, 200 Collection Tubes (2ml), Proteinase K (1.25ml), Carrier RNA 310 µg, Buffers (50ml ATL, 33ml AL, 19ml AW1, 13ml AW2, 20ml ATE), amount for 50 preps. | pakiranje/pack | 1
7.2. | Set reagencija za primjenu u molekularnoj biologiji za brzo pročišćavanje deoksiribonukleinske kiseline iz različitih čvrstih tkiva (svježih, zamrznutih ili stabiliziranih), optimizirana kombinacija mehaničke, kemijske i enziske lize fibroznih i ostalih tkiva koja se teško liziraju, sadrži epruvete sa kuglicom jedinstvenog oblika od nehrđajućeg čelika koje pomaže u razbijanju tkiva, daje visoke prinosi čiste deoksiribonukleinske kiseline pogodne za PCR i NGS, vrijeme lize 15 min, potpuno uklanjanje inhibitora, uključuje: 50 mini spin kolona, Proteinaza K (1,2 ml, otopina - 600 mAU /ml), RNaza A (280 μl), reagens DX (1 ml), 50 epruveta za sakupljanje (1,5 ml), 150 epruveta za sakupljanje (2 ml), 50 epruveta za razbijanje tkiva, puferi (20 ml AVE, 6 ml VXL, 14,7 ml MVL, 19 ml AW1 i 17 ml AW2 koncentrata, 20 ml ATE (pH 8,3 i 0,1 mM EDTA), količina dovoljna za 50 reakcija. | Purification Kit intended for molecular biology applications, rapid purification of deoxyribonucleic acid from various solid tissue (fresh, frozen or stabilized tissue), optimized combination of mechanical, chemical and enzymatic lysis of fibrous or other hard-to-lyse tissue, supplied with disruption tubes that contain a special stainless steel bead with a unique shape that aids tissue disruption, delivers high yields of pure of deoxyribonucleic acid suitable for PCR and NGS applications, lysis time 15 min, complete removal of inhibitors, includes: 50 mini spin Columns, Proteinase K (1.2ml, solution - 600 mAU/ml), RNase A (280 μl), reagent DX (1ml), 50 collection tubes (1,5ml), 150 collection tubes (2ml), 50 Tissue Disruption Tubes, Buffers (20ml AVE, 6ml VXL, 14.7ml MVL, 19ml AW1, and 17ml AW2 concentrate, 20ml ATE (pH 8.3 and 0.1 mM EDTA), amount for 50 preps. | pakiranje/pack | 1
7.3. | Pufer 1 za ispiranje deoksiribonukleinskih kiselina, količina od 242 ml, 96%-100% etanol mora biti dodan prije upotrebe | Wash buffer (1) for use in nucleic acid purifications, supplied as concentrates, 242ml, 96–100% ethanol must be added before use | boca/bottle | 2
7.4. | Pufer 2 za ispiranje deoksiribonukleinskih kiselina, koncentrat od 342 ml, 96%-100% etanol mora biti dodan prije upotrebe | Wash buffer (2), for use in nucleic acid purifications, supplied as concentrates, 324ml, 96–100% ethanol must be added before use | boca/bottle | 2
7.5. | Pufer za lizu tkiva za pročišćavanje nukleinskih kiselina, količina od 4 x 50 ml | Tissue lysis buffer for use in purifications of nucleic acids, amount of 4 x 50 ml | pakiranje/pack | 2
7.6. | Medij za izmjenu kationa primjene u molekularnoj biologiji, natrijev oblik, 1% umrežavanje, veličina čestica 200-400 suha mreža, 75-150 µm veličina mokrih kuglica, ~3 500 MW granica, selektivnost za dvovalentne u odnosu na jednovalentne ione je približno 5 000 prema 1, polistiren /DVB matrica, jaka privlačnost za prijelazne metale, Inaktivira enzime (uključujući DNaze), bez endo- i egzonukleaze, ne sadrži inhibitore ligaza, količina od 50 g | Molecular biology grade cation exchange resin, sodium form, 1% crosslinkage, particle size 200–400 dry mesh, 75–150 µm wet bead size, ~3 500 MW limit, selectivity for divalent over monovalent ions is approximately 5 000 to 1, polystyrene/DVB matrix, strong attraction for transition metals, Inactivates enzymes (including DNases), endo- and exonuclease-free, contains no ligase inhibitors, amount of 50 g | boca/bottle | 1
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 8
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
8 | GRUPA 8 - Reagensi za kvantifikaciju nukleinskih kiselina | GRUPA 8 - Chemicals for nucleic acid qvantification
8.1. | Set reagencija za analizu dizajniran posebno za upotrebu s Qubit fluorometrom, idealan za kvantitativno određivanje jednolančane deoksiribonukleinske kiseline ili oligonukleotida, također detektira dvolančane deoksiribonukleinske i ribonukleinske kiseline, bez detekcije kontaminirajućih proteina i nukleotida. Pogodan za koncentracije uzorka od 50 pg/µL do 200 ng/µL, omogućujući raspon analize od 1-200 ng, kvantitativni raspon - 0,2 do 240 ng, broj reakcija - 100 | Assay Kit designed specifically for use with the Qubit Fluorometer, ideal for quantitating single-stranded deoxyribonucleic acid or oligonucleotides, also detect double-stranded deoxyribonucleic and ribonucleic acids, but it will not detect contaminating protein or nucleotides. The assay is designed to be accurate for initial sample concentrations from 50 pg/µL to 200 ng/µL, enabling an assay range of 1–200 ng, quantitation range - 0.2 to 240 ng, number of reactions - 100 | pakiranje/package | 2
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  | approximate quantity
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 9
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
9 | GRUPA 9 - Reagensi za uzgoj animalnih stanica u kulturi | GROUP 9 - Chemicals for animal cell culture
9.1. | Medij za animalne stanice DMEM s 1000 mg/L glukoze mora biti pogodan za uzgoj animalnih stanica, mora sadržavati aminokiseline, natrijev hidrogen karbonat, natrijev piruvat, L-glutamin i biti bez HEPES-a. Mora biti steriliziran filtracijom. Mora sadržavati indikator fenol crveno, veličina pakiranja 500 mililitara. | The medium for animal cells DMEM with 1000 mg/L glucose must be suitable for growing animal cells, must contain amino acids, sodium hydrogen carbonate, sodium pyruvate, L-glutamine and contain no HEPES. It must be filter sterilized. Must contain phenol red indicator, package size 500 milliliters. | ml | 25000
9.2. | B-estradiol, steroidni spolni hormon, čistoće ≥98% (HPLC), prikladan za animalne stanice u kulturi, topiv u etanolu, dostavlja se u obliku praha, pohrana na sobnoj temperaturi, veličina pakiranja 1 gram. | B-estradiol, steroid sex hormone, purity ≥98% (HPLC), suitable for animal cells in culture, soluble in ethanol, delivered in powder form, storage at room temperature, package size 1 gram. | g | 1
9.3. | Higromicin B, aminoglikozidni antibiotik koji inhibira sintezu proteina u prokariotima i eukariotima, čistoće >80% (HPLC), isporučuje se otopljen u PBS-u, koncentracije 50 mg/ml, filtriran kroz membranu s porama veličine 0,2 μm, veličina pakiranja 20 mililitara. | Hygromycin B, an aminoglycoside antibiotic that inhibits protein synthesis in prokaryotes and eukaryotes, purity >80% (HPLC), supplied dissolved in PBS, concentration 50 mg/ml, filtered through a 0.2 μm pore membrane, package size 20 milliliters | ml | 20
9.4. | Blasticidin, nukleozidni antibiotik koji inhibira sintezu proteina u prokariotima i eukatiozima, prikladan za selekciju stanica koje su transfecirane plasmidima s genima za blasticidinsku rezistenciju, koncentracije 10 mg/ml, isporučuje se u 20 mM HEPES-u, pH 7,5, steriliziran filtriranjem, veličina pakiranja 10 mililitara. | Blasticidin, a nucleoside antibiotic that inhibits protein synthesis in prokaryotes and eukaryotes, suitable for selection of cells transfected with plasmids with genes for blasticidin resistance, concentration 10 mg/ml, supplied in 20 mM HEPES, pH 7.5, sterilized by filtration, package size 10 milliliters. | ml | 10
9.5. | Transferin, serumski glikoprotein koji sudjeluje u transportu željeza, prikladan za animalne stanice u kulturi, otopljen u IMDM-u, koncentracija 30 mg/ml, zasićenost željezom manja od 1%, steriliziran filtriranjem kroz kroz membranu s porama veličine 0,2 μm, veličina pakiranja 20 mililitara. | Transferrin, a serum glycoprotein involved in the transport of iron, suitable for animal cells in culture, dissolved in IMDM, concentration 30 mg/ml, iron saturation less than 1%, sterilized by filtration through a membrane with a pore size of 0.2 μm, size packs of 20 milliliters. | ml | 20
9.6. | Nikotinamid, amidna forma vitamina B3, prikladan za animalne stanice i stanice insekata u kulturi, čistoće ≥98% (HPLC), isporučuje se u obliku praha, veličina pakiranja 100 grama. | Nicotinamide, amide form of vitamin B3, suitable for animal and insect cells in culture, purity ≥98% (HPLC), supplied in powder form, pack size 100 grams. | g | 100
9.7. | 2-merkaptoetanol, reducirajući agens, prikladan za animalne stanice u kulturi i elektroforezu, čistoće 99% (GC, titracija) , pH 4.5-6 (20 °C, 500 g/L) | 2-mercaptoethanol, reducing agent, suitable for animal cells in culture and electrophoresis, purity 99% (GC, titration), pH 4.5-6 (20 °C, 500 g/L) | ml | 100
9.8. | Natrijev selenit, prikladan za animalne stanice u kulturi, čistoće ≥98%, isporučuje se u obliku praha, veličina pakiranja 10 grama. | Sodium selenite, suitable for animal cells in culture, purity ≥98%, supplied in powder form, pack size 10 grams. | g | 10
9.9. | Goveđi serumski albumin, prikladan za rad s animalnim stanicama u kulturi, čistoće ≥98% (agarozna gel elektroforeza), koncentracije nečistoća ≤20 ppm Pb te ≤3 EU/mg endotoxin, isporučuje se u obliku liofiliziranog praha, veličina pakiranja 100 grama. | Bovine serum albumin, suitable for working with animal cells in culture, purity ≥98% (agarose gel electrophoresis), concentration of impurities ≤20 ppm Pb and ≤3 EU/mg endotoxin, supplied in the form of lyophilized powder, package size 100 grams. | g | 200
9.10. | Transformirajući faktor rasta beta, ekprimiran u stanicama HEK 293, čistoće ≥95% (SDS-PAGE), prikladan za rad ss animalnim stanicama u kulturi, koncentracije nečistoća ≤1 EU/μg, isporučuje se u obliku liofiliziranog praha, veličina pakiranja 5 μg. | Transforming growth factor beta, expressed in HEK 293 cells, purity ≥95% (SDS-PAGE), suitable for working with animal cells in culture, impurity concentration ≤1 EU/μg, supplied in the form of lyophilized powder, package size 5 μg. | μg | 5
9.11. | Angiotenzin II, prikladan za rad s animalnim stanicama u kulturi, čistoće ≥93% (HPLC), koncentracije nečistoća 1.2-10.4% acetat, isporučuje se u obliku praha, veličina pakiranja 5 mg. | Angiotensin II, suitable for working with animal cells in culture, purity ≥93% (HPLC), impurity concentration 1.2-10.4% acetate, supplied in powder form, package size 5 mg. | mg | 5
9.12. | Matriks bazalne membrane,pripravak bazalne membrane ekstrahiran iz Engelbreth-Holm-Swarm mišjeg sarkoma, bogat izvanstaničnim matriksnim proteinima poput laminina, kolagena IV, heparan sulfat proteoglikgana, testiran na prisutnost bakterija, gljivica, mikoplazmi i virusa uključujući LDEV, stabilan 14 dana na temperaturi od 37°C, pogodan za rast i diferencijaciju stanica, metaboličke i toksikološke studije, analize invazije, analize angiogeneze in vitro i in vivo, veličina pakiranja 5 mililitara. | Basement membrane matrix, basement membrane preparation extracted from Engelbreth-Holm-Swarm murine sarcoma, rich in extracellular matrix proteins such as laminin, collagen IV, heparan sulfate proteoglycan, tested for the presence of bacteria, fungi, mycoplasmas and LDEV virus, stable for 14 days at a temperature of 37°C, suitable for cell growth and differentiation, metabolic and toxicological studies, invasion assays, in vitro and in vivo angiogenesis assays, package size 5 milliliters. | ml | 5
9.13. | Fibronektin, gllikoprotein ekstracelularnog matriksa, čistoće >95% (SDS-PAGE), prikladan za rad s animalnim stanicama u kulturi, ne sterilan ali filtriran kroz membranu s porama veličine 0,2 μm,isporučuje se u obliku liofiliziranog praha koji sadrži 1,126 mg glicina i 0,058 mg natrijevog klorida po mg fibronektina, veličina pakiranja 1 mg. | Fibronectin, a glycoprotein of the extracellular matrix, purity >95% (SDS-PAGE), suitable for working with animal cells in culture, non-sterile but filtered through a membrane with pores of 0.2 μm size, supplied in the form of a lyophilized powder containing 1.126 mg of glycine and 0.058 mg sodium chloride per mg fibronectin, pack size 1 mg. | mg | 1
9.14. | Anhidrozni kalcij klorid je granulozna prakšasta komponenta koja se skladišti na sobnoj temperaturi veličine čestica ≤7,0 mm. Esej čistoće ove komponente treba biti ≥93,0% s razinom kvalitete MQ200. Tlak isparavanja je 0,01 mmHG (20 °C), a temperatura taljenja 772 °C. Individualno pakiranje proizvoda treba biti 500 g. | Anhydrous calcium chloride is a granulose powdered component with storage conditions at room temperature and particle size of ≤7.0 mm. Purity assay of this component should be ≥93.0% with MQ200 quality level. Vapor pressure is 0.01 mmHg (20 °C) and boiling temperature of 772 °C. Individual packaging should be 500 g. | g | 500
9.15. | Heksadimetrin bromid je kvarterna amonijeva komponenta u obliku praška sa kvalitetom čistoće MQ200 i esejom ≥94% (titracija). Skladišti se na 2-8 °C, a individualno pakiranje proizvoda treba biti 5 g. | Hexadimethrine bromide is a powdered quaternary ammonium compound with quality level of MQ200 and assay ≥94% (titration). It is stored at 2-8 °C and individual packaging should be 5 g. | g | 5
9.16. | 5-aza-2'-deoksicitidin je praškasti DNA-hipometilirajući agens koji stimulira diferencijaciju i apoptozu stanica leukemije, a koristi se kao demetilirajući agens. Proizvod treba imati kvalitetu čistoće od MQ 200 i esej ≥97%. Topiv je u otopini octena kiselina:voda (1:1): 50 mg/mL. Pojedinačno pakiranje treba biti 5 g. | 5-aza-2′-deoxycytidine is a powdered DNA-hypomethylating agent which stimulates leukemia cell differentiation and apoptosis with the purpose of demethylating DNA sequences. Product should have quality level of MQ200 and assay ≥97%. It is soluble in acetic acid:water (1:1):50 mg/mL. Individual packaging should be 5 g. | mg | 5
9.17. | Natrijev butirat. Natrijev butirat je kratkolančana masna kiselina koja služi za inhibiciju histonske deacetilaze. U obliku praha i topljiv u vodi, čistoća viša od 98.5 %. Pakiranje od 1 g. | Sodium butyrate. Sodium butyrate is a short-chain fatty acid for inhibition of histone deacetylase. In form of powder and soluble in water. Purity more then 98.5 %. Package of 1 g. | g | 1
9.18. | Kit za mjerenje koncentracije inzulina u serumu, plazmi i staničnom mediju metodom ELISA; kit za mjerenje koncentracije inzulina mora moći uspješno odrediti koncentracije isključivo ljudskog inzulina u serumu, plazmi ili izlučenog u stanični medij u rasponu 3 - 200 mU/L (0.13 - 8.70 µg/L), a sam detekcijski limit kita treba biti ≤ 1 mU/L (0.043 µg/L). Kit ne smije detektirati analoge inzulina te mišji ili štakorski inzulin. | Kit for measuring insulin concentration in serum, plasma and cell medium by ELISA method; The kit for measuring the concentration of insulin must be able to successfully determine the concentration of only human insulin in serum, plasma or secreted into the cell medium in the range 3 - 200 mU/L (0.13 - 8.70 µg/L), and the detection limit of the kit itself should be ≤ 1 mU/ L (0.043 µg/L).Insignificant or no cross-reactivity to insulin analogs and rat or mouse insulin. | reakcija/ reaction | 96
9.19. | Kolonice za ukoncentriravanje proteina molekularne mase veće od 10 kDa. Služe za ukoncentriravanje proteina i odsoljavanje. Svaka kolonica mora sadržavati regeneriranu celuloznu membranu s visokim oporavkom za ukoncentriravanje proteina molekularne mase veće od 10 kDa. Kolonice moraju biti pogodne za korištenje u centrifugi. U kolonicu mora stati 15 mL uzorka. Membrana mora biti ultrafiltracijskog tipa. Konačni volumen koncentrata mora biti minimalno 200 µl. Pakiranje je za 96 reakcija. | Columns for concentrating proteins with a molecular weight greater than 10 kDa. They serve to concentrate proteins and desalt. Each column must contain a regenerated cellulose membrane with a high recovery for concentrating proteins with a molecular weight greater than 10 kDa. The columns must be suitable for use in a centrifuge. 15 mL of sample must fit in the column. The membrane must be of the ultrafiltration type. The final volume of the concentrate must be at least 200 µl. The package is for 96 reactions. | reakcija | 96
9.20. | Transfekcijski reagens specifičan za Ramos staničnu liniju. Mora biti optimiziran kako bi dostavio nukleinske kiseline u Ramos stanice. 0,5 mL ovog reagensa mora biti dovoljno za transfeciju 1000 jažica (volumena jažice pločice s 24 jažice). Mora biti kompatibilan sa serumom i prikladan za reverznu transfekciju. Također bi trebao biti kompatibilan i s nekim drugim staničnim linijama kao što su HEK293T i PANC-1. | Transfection reagent specific for Ramos cell line. It has to be optimized to deliver nucleic acids into Ramos cells. 0,5 mL of this reagent most be enough for the transfection of 1000 wells of a 24-well plate. It has to be compatible with serum and suitable for reverse transfection. Has to be compatible with other cell lines like HEK293T and PANC-1. | mL | 0.5
9.21. | Adherentna ljudska stanična linija BeWo. Stanična linija mora biti iz tkiva placente pacijenta s koriokarcinomom. Moraju imati ekspresiju progesterona, ljudskog korionskog gonadotropina, ljudskog korionskog somatomamotropina, estrogena I keratina. | Adherent human BeWo cell line. The cell line must be from the placenta tissue of a choriocarcinoma patient. They must have the expression of progesterone, human chorionic gonadotropin, human chorionic somatomammotropin, estrogen and keratin. | komad / piece | 1
9.22. | Otopina za stabilizaciju lentivirusnih čestica. Mora omogućiti stabilnost i očuvanje infektivnosti lentivirusnih čestica pohranjenih na -80°C 1 godinu. Pakiranje je 20 mL | Lentivirus stabilizer solution. Must be able to stabilize lentiviral particles and preserve the lentiviral infectivity of lentiviruses stored at -80°C for 1 year. The package is 20 mL. | mL | 20
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 10
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
10 | GRUPA 10 - Reagensi za analizu ekspresije gena | GROUP 10 - Chemicals for gene expression analysis
10.1. | Mješavina kemikalija za kvantitativni PCR temeljena na boji Sybr Green kompatibilna s uređajem 7500 Fast Real-time PCR System (Applied Biosystems). Mješavina mora biti 2× koncentrirana te sadržiti polimerazu visoke osjetljivosti AmpliTaq Gold LD, mješavinu dNTPa s dUTP/dTTP, uracil-DNA glikozilazu te pasivnu referentnu boju ROX. Pakiranje je 10×5 mL. | Real-time qPCR chemical mix based on Sybr Green dye compatible with the 7500 Fast Real-time PCR System (Applied Biosystems). The mixture must be 2x concentrated and contain the high-sensitivity polymerase AmpliTaq Gold LD, a mixture of dNTPs with dUTP/dTTP, uracil-DNA glycosylase and the passive reference dye ROX. The package is 10×5 mL. | mL | 100
10.2. | LAMP2 monoklonsko antitijelo treba biti prilagođeno za western blot, imunocitokemiju i protočnu citometriju. Domaćin je miš, a specifična reaktivnost mora biti kompatibilna s čovjekom, mišom i primatima koji nisu slični čovjeku. Antitijelo treba biti koncentracije 1 mg/mL u volumenu pojedinačnog pakiranja 100 μg. Mora biti pročišćeno proteinom A te se skladišti u PBS-u s 0,05% natrijevim azidom na -20 °C. | LAMP2 monoclonal antibody must be optimised for western blot, immunocytochemistry and flow cytometry. Origin host is mouse with specific reactivity against human, mouse and non-human primates. Antibody concentration must be 1 mg/mL in 100 μg individual packaging volume. Antibody should be purified with protein A and is storaged in PBS with 0.05% sodium azide (-20 °C). | μg | 100
10.3. | SPPL3 poliklonsko antitijelo treba imati 100% homolognu sekvencu s onom iz krave, psa, konja, čovjeka, miša, zeca i štakora i treba biti prilagođeno za wester blot metodu. Domaćin iz kojeg je antitijelo izolirano je zec, a tip antitijela je poliklonsko. Skladišti se u 2% saharozi i 0,09% natrijevom azidu na -20 °C. Koncentracija antitijela treba biti 0,5 mg/mL volumena pojedinačnog pakiranja 100 μl. | SPPL3 polyclonal antibody must have 100% homology sequence with cow, dog, horse, human, mouse, rabbit and rat sequence and adapted for western blot. Host origin is rabbit and type of antibody is polyclonal. Antibody is stored in buffer with 2% sucrose and 0.09% sodium azide (-20 °C). Antibody concentration should be 0.5 mg/mL in 100 μl individual packaging volume. | μl | 100
10.4. | Medij za animalne stanice F12K. Medij sadrži L-Glutamine, pH indikator fenol-crveno. Prikladan je za uzgoj humanih hepatocita. Sadrži L-glutamin koncentracije 292.0 mg/l, putrescin,tididin, hipoksantin, cink, natijev piruvat koncentracije 220.0 mg/L. Medij sadrži puferski sustav natijevog bikarbonata koncentracije 2.5 g/L. Medij ne sadrži HEPES, a glukoza je prisutna u koncentraciji 1260.0 mg/L. Pakiranje je 500 mL. | Medium for animal cells F12K. The medium contains L-glutamine, pH indicator phenol-red. It is suitable for growing human hepatocytes. It contains L-glutamine concentration 292.0 mg/l, putrescine, thydidine, hypoxanthine, zinc, sodium pyruvate concentration 220.0 mg/L. The medium contains a buffer system of sodium bicarbonate with a concentration of 2.5 g/L. The medium does not contain HEPES, and glucose is present at a concentration of 1260.0 mg/L. The package is 500 mL. | mL | 2000
| Datum, mjesto: | M.P. Za ponuditelja:
____________________