## IZMJENA I.
IZMJENA I
Grupa 5; stavka 5.6.
Grupa 5; stavka 5.17
* označeno crveno
26. veljače 2023.

## GRUPA 1
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/ APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
1 | GRUPA 1 - Glikozidaze | GROUP 1 - Glycosidases
1.1. | N-Glikozidaza F (PNGaza F), enzim koji katalizira cijepanje N-vezanih oligosaharida, rekombinantna, klonirana iz Elizabethkingia miricola i prekomjerno eksprimirana u E. coli, 95 % čistoće prema SDS-PAGE-u (ili jednakovrijedno), isporučuje se otopljena u 20mM Tris-HCl (pH 7.5 pri 25°C), 50mM NaCl i 5mM EDTA pri koncentraciji 10,000 U/ml, volumen pojedinačnih pakiranja 30-100 μl, s rokom trajanja minimalno 1 godinu nakon dana isporuke | N-Glycosidase F (PNGase F), enzyme that catalyzes the cleavage of N-linked oligosaccharides, recombinant, cloned from Elizabethkingia miricola and overexpressed in E. coli, 95 % purity by SDS-PAGE(or equivalent), supplied as a liquid in 20mM Tris-HCl (pH 7.5 at 25°C), 50mM NaCl and 5mM EDTA at a concentration of 10,000 U/ml, individual packaging volume 30-100 μl, expiration date of minimally 1 year after delivery date | jedinica / unit (U) | 30 000
| Datum, mjesto: | M.P. Za ponuditelja:
____________________
1

## GRUPA 2
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/ APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
2 | GRUPA 2 - Otopine | GROUP 2 - Solvents
2.1. | Otopina za kalibraciju masenog spektrometra, spremna za upotrebu, optimizirana za pozitivnu i negativnu ionizacijsku kalibraciju instrumenata, kemijska reaktivnost - amin, raspon masa 50 do 3000 m/z poboljšava osjetljivost i točnost mase Orbitrap masenih spektrometara, kompatibilna s Orbitrap Tribrid Series 3.1 Instrument Control Software-om (ili novijim) pohranjeno u nepropusnoj PTFE bočici visoke čistoće, 10 mL | Solution for mass spectrometer calibration, ready-to-use, optimized for both positive and negative ionization calibration of instruments, chemical reactivity - Amine, mass range 50 to 3000 m/z improve sensitivity and mass accuracy of Orbitrap mass spectrometers, compatible with Orbitrap Tribrid Series 3.1 Instrument Control Software (or later), provided in a leak-proof, high-purity PTFE bottle, 10 mL | pakiranje/package | 4
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 3
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/ APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
3 | GRUPA 3 - Reagensi za kapilarnu elektroforezu | GROUP 3 - Chemicals for capillary electrophoresis
3.1. | Hi-Di formamid, tekućina, za upotrebu u istraživanjima na uređaju za sekvenciranje Applied Biosistems, visoko deionizirani formamid za resuspendiranje uzoraka prije elektrokinetičkog injektiranja u sustav za kapilarnu elektroforezu, pojedinačna pakiranja od 25 ml | Hi-Di formamide, liquid, for reasearch use on Applied Biosistems Genetic analyzers, highly deionized formamide used to resuspend samples before electrokinetic injection on capillary electrophoresis systems, individual packaging of 25 ml | komad/piece | 20
3.2. | Anionski pufer, sadrži 1X pufer za analizu, za uporabu s Applied Biosystems 3500 genetičkim analizatorima, s RFID oznakom, pakiranje do 4 komada. | The anode buffer, contains 1x running buffer for use with Applied Biosystems 3500 Genetic Analyzers, RFID tagged, packaging up to 4 pieces. | komad/piece | 48
3.3. | Katodni pufer, sadrži 1X pufer za analizu, za uporabu s Applied Biosystems 3500 genetičkim analizatorima, s RFID oznakom, pakiranje do 4 komada | The cathode buffer, contains 1x running buffer for use with Applied Biosystems 3500 series Genetic Analyzers, RFID tagged, packaging up to 4 pieces | komad/piece | 48
3.4. | POP-7 matrica za razdvajanje za upotrebu s Applied Biosystems 3500 genetičkim analizatorima, formulirana za sekvenciranje i analizu fragmenata, u vrećici za jednokratnu upotrebu, s RFID oznakom. Sadrži količinu dovoljnu za 384 uzorka. | POP-7 separation matrix for use with Applied Biosystems 3500 Genetic Analyzer, formulated for sequencing and fragment analysis, in a single-use pouch, RFID tagged. Amount of 384 samples. | pakiranje/package | 30
3.5. | Reagens za kondicioniranje za upotrebu s Applied Biosystems 3500 genetičkim analizatorima, za premazivanje pumpe, ispiranje pumpe kod promjene tipa polimera, kod gašenja sustava, s RFID oznakom. Sadrži količinu za jednu upotrebu, individualno pakiranje od 1 komada | Conditioning reagent for use with Applied Biosystems 3500 Genetic Analyzer, for priming the polymer pump, washing the polymer pump between polymer type changes, and during instrument shut down, RFID tagged. Containes adequate volume for a one-time use, individal packaging of 1 piece | komad/piece | 10
3.6. | Standard veličine obilježen fluoroforom LIZ™ za ponovljivu analizu fragmenata. Sadrži 16 LIZ obilježenih jednolančanih fragmenata deoksiribonukleinske kiselinae rasponu 35-500 nukleotida: 35, 50, 75, 100, 139, 150, 160, 200, 250, 300, 340, 350, 400, 450, 490 i 500 nukleotida. Označeni fragmenti deoksiribonukleinske kiseline rezultiraju jednim signalom kada se analiziraju u denaturirajućim uvjetima. Za korištenje u analizi fragmenata obilježenih bojama FAM™, VIC™, NED™ or PET™, na sustavima za kapilarnu elektroforezu koji se se temelje na fluorescenciji. Za upotrebu za sekvenciranje na Applied Biosystems 3130, 3500 i 3730. Kompatibilan sa setom boja E6, G5, J6 i J6-T. Sadrži količinu dovoljnu za 800 reakcija. | Size standard labeled with LIZ™ fluorophore for the reproducible sizing of fragment analysis data. Contains 16 LIZ labeled single stranded deoxyribonucleic acid fragments in the 35-500 nucleotides range: 35, 50, 75, 100, 139, 150, 160, 200, 250, 300, 340, 350, 400, 450, 490 and 500 nucleotides. Labeled deoxyribonucleic acid fragments result in a single peak when run under denaturing conditions. For use in analysis of marker fragments labeled with the dyes FAM™, VIC™, NED™ or PET™, on fluorescence-based electrophoresis systems. For use on the Applied Biosystems 3130, 3500 and 3730 Genetic Analyzers. Compatible with Dye Sets E5, G5, J6, and J6‑T. Amount of 800 reactions. | pakiranje/package | 1
3.7. | Standard veličine obilježen fluoroforom ROX™ za ponovljivu analizu fragmenata. Sadrži 16 ROX obilježenih jednolančanih fragmenata deoksiribonukleinska kiselina u rasponu 35-500 nukleotida: 35, 50, 75, 100, 139, 150, 160, 200, 250, 300, 340, 350, 400, 450, 490 i 500 nukleotida. Označeni fragmenti deoksiribonukleinske kiseline rezultiraju jednim signalom kada se analiziraju u denaturirajućim i nedenaturirajućim uvjetima. Za korištenje u analizi fragmenata obilježenih bojama FAM™, VIC™, NED™. Kompatibilan sa setom boja D i F koje se koriste za spektralnu kalibraciju. Za upotrebu na uređajima za sekvenciranje Applied Biosystems 310, 3130, 3500, 3730 i SeqStudio. Sadrži količinu dovoljnu za 800 reakcija. | Size standard labeled with ROX™ fluorophore for the reproducible sizing of fragment analysis data. Contains 16 ROX labeled single stranded deoxyribonucleic acid fragments in the 35-500 nucleotides range: 35, 50, 75, 100, 139, 150, 160, 200, 250, 300, 340, 350, 400, 450, 490 and 500 nucleotides. Labeled deoxyribonucleic acid fragments result in a single peak when run under both denaturing and non-denaturing conditions. For use in analysis of marker fragments labeled with the dyes FAM™, VIC™ and NED™. Compatible with dye sets D and F spectral calibration. For use on the Applied Biosystems 310, 3130, 3500, 3730 and SeqStudio Genetic Analyzers. Amount of 800 reactions. | pakiranje/package | 1
3.8. | Set reagencija za PCR s AmpliTaq Gold DNA polimerazom ili jednakovrijednim enzimom, za korištenje u genomskim analizama, kompatibilan za upotrebu na genetičkim analizatorima 310, 3100/3100-Avant, 3130/3130xl, 3500/3500xL i 3730 te PCR uređajima GeneAmp 9700, ProFlex i Veriti, visoka GC-Rich PCR izvedba, boje za obilježavanje i detekciju: FAM™, LIZ™, NED™, PET™ i VIC™, za korištenje uz standard veličine - 500 LIZ te set standarda matrice DS-33; ciljni lokusi za fragmentnu analizu: D21S11, CSF1PO, vWA, D8S1179, TH01, D18S51, D5S818, D16S539, D3S1358, D2S1338, TPOX, FGA, D7S820, D13S317, D19S433 i Amelogenin; količina za 200 reakcija od 25 µl | PCR Reaction kit with AmpliTaq Gold DNA Polymerase or equal enzyme included, used in genomic analyses, for use with 310, 3100/3100-Avant, 3130/3130xl, 3500/3500xL and 3730 Genetic Analyzers, and GeneAmp 9700, ProFlex i Veriti thermocyclers, high GC-Rich PCR performance, label/ dye FAM™, LIZ™, NED™, PET™ and VIC™, for use with 500 LIZ™ Size Standard and Matrix Standard Set DS-33, target loci for fragment analysis: D21S11, CSF1PO, vWA, D8S1179, TH01, D18S51, D5S818, D16S539, D3S1358, D2S1338, TPOX, FGA, D7S820, D13S317, D19S433 and Amelogenin; amount for 200 reactions of 25 µl | pakiranje/package | 2
3.9. | Set od 8 kapilara punjivih polimerom za interakciju s uzorcima na uređaju Applied Biosystems 3500, s RFID oznakom, 50 cm, nepresvučene s unutrašnje strane stijenke, za analizu fragmenata i sekvenciranje, broj upotreba po setu - 160 injekcija | 8-capillary array fillable with polymer for sample interaction on Applied Biosystems 3500 Genetic Analyzer, RFID tagged, 50 cm, internally uncoated, used for fragment analysis and sequencing, usage per array - 160 injection | pakiranje/package | 5
3.10. | Set od 8 kapilara punjivih polimerom za interakciju s uzorcima na uređaju Applied Biosystems 3500, s RFID oznakom, 36 cm, nepresvučene s unutrašnje strane stijenke, za analizu fragmenata i sekvenciranje, broj upotreba po setu - 160 injekcija | 8-capillary array fillable with polymer for sample interaction Applied Biosystems 3500 Genetic Analyzer, RFID tagged, 36 cm, internally uncoated, used for fragment analysis and sequencing, usage per array - 160 injection | pakiranje/package | 1
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 4
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/ APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
4 | GRUPA 4 - Reagensi za pirosekvenciranje | GROUP 4 - Pyrosequencing Reagents
4.1. | Set reagencija za PCR, optimiziran za analizu pirosekvenciranja; sadrži: 2x PCR Master Mix (s HotStarTaq DNA polimerazom modificiranim oblikom rekombinantne 94 kDa Taq DNA polimeraze i optimiziranim reakcijskim puferom koji sadrži 3 mM MgCl2 i dNTPs), 10x koncentrat boje CoralLoad, 5x Q-otopina, 25 mM MgCl2 i voda bez RNaze, količina: 800 od 25 µL reakcija (4x200rxn). | PCR kit, optimized for pyrosequencing analysis; contains: 2x PCR Master Mix (with HotStarTaq DNA Polymerase modified form of the recombinant 94 kDa Taq DNA Polymerase and optimized reaction buffer containing 3 mM MgCl2 and dNTPs), 10x concentrate CoralLoad dye, 5x Q-Solution, 25 mM MgCl2, and RNase-Free Water, amount: 800 of 25µL reactions (4x200rxn). | pakiranje/pack | 3
4.2. | Set reagencija optimiziran za tehnologiju pirosekvenciranja dizajniran za generiranje Pyrogram® tragova s ​​oštrim i jasnim vrhovima i niskom pozadinom, sadrži sve bitne enzime, supstrate i nukleotide potrebne u kaskadi pirosekvenciranja (5 bočica mješavine enzima, 5 bočica mješavine supstrata, 1400 μl dATPαS, 1400 μl dGTP, 1400 μl dCTP, 1400 μl dTTP), pogodan za analizu CpG metilacije, identifikaciju vrste, analizu mutacije i analizu polimorfizma jednog nukleotida (SNP), optimiziran za upotrebu na PyroMark Q24 MDx., u pripremi uzorka za pirosekvenciranje na PyroMark Q24 instrumentu i softveru, količina od 5x96 preparata/uzoraka. | Set of reagents optimized for Pyrosequencing technology designed to generate Pyrogram® traces with sharp and distinct peaks and low background, contain all essential enzymes, substrates and nucleotides needed in the Pyrosequencing cascade (5 vials of enzyme mixture, 5 vials of substrate mixture, 1400 μl dATPαS, 1400 μl dGTP, 1400 μl dCTP, 1400 μl dTTP), suitable for CpG methylation analysis and species identification, and provide optimal conditions for mutation and single nucleotide polymorphism (SNP) analysis, used in sample preparation for pyrosequencing on PyroMark Q24 Instrument and PyroMark Q24 Software, amount of 5x96 preps/samples. | pakiranje/pack | 4
4.3. | Otopina za denaturaciju dvolančanog PCR produkta u jednolančani oblik deoksiribonukleinske kiseline, koji se koristi u pripremi uzorka za pirosekvenciranje na PyroMark Q24 instrumentu i softveru te naprednom PyroMark Q24 Instrumentu i softveru, količina 500 ml | Solution for denaturation of double-stranded PCR product into single-stranded deoxyribonucleic acid template, used in sample preparation for pyrosequencing on PyroMark Q24 Instrument and PyroMark Q24 Software and PyroMark Q24 Advanced Instrument and PyroMark Q24 Advanced Software, amount of 500ml | boca/bottle | 6
4.4. | Pufer za vezanje biotiniliranog PCR produkta na kuglice streptavidin Sepharose®, za korištenje u pripremi uzorka za pirosekvenciranje na PyroMark Q24 uređaju i softveru te PyroMark Q24 Advanced uređaju i softveru, količina od 200 ml | Buffer for binding of biotinylated PCR product to streptavidin Sepharose® beads, used in sample preparation for pyrosequencing on PyroMark Q24 Instrument and PyroMark Q24 Software and PyroMark Q24 Advanced Instrument and PyroMark Q24 Advanced Software, amount 200 ml | boca/bottle | 2
4.5. | Pufer za vezanje početnica za sekvenciranje za jednolančani PCR produkt i za reakciju pirosekvenciranja, za korištenje tijekom pripreme uzorka za pirosekvenciranje na PyroMark Q24 uređaju i softveru, količina od 250 ml | Buffer for annealing sequencing primer to single-stranded PCR product and for Pyrosequencing reaction, used in sample preparation for pyrosequencing on PyroMark Q24 Instrument and PyroMark Q24 Software, amount of 250 ml | boca/bottle | 2
4.6. | Pufer za isipranje jednolančane deoksiribonukleinske kiseline, koncentrat, za korištenje tijekom pripreme uzorka za pirosekvenciranje na PyroMark Q24 uređaju i softveru te PyroMark Q24 Advanced uređaju i softveru, količina od 200 ml | Buffer for washing of single-stranded deoxyribonucleic acid, concentrate, used in sample preparation for pyrosequencing on PyroMark Q24 Instrument and PyroMark Q24 Software and PyroMark Q24 Advanced Instrument and PyroMark Q24 Advanced Software, amount of 200 ml | boca/bottle | 2
4.7. | Uložak punjiv nukleotidima i reagencijama (enzim i supstrat), za njihovu dispenzaciju i interakciju s uzorcima na PyroMark Q24 i PyroMark Q24 Advanced uređajima | Cartridge fillable with nucleotides and reagents (enzyme and suptrate), for their dispensation and sample interaction on PyroMark Q24 and PyroMark Q24 Advanced Instruments | pakiranje/pack | 2
4.8. | Filter sonde punjive etanolom, otopinom za denaturaciju i puferom za pranje za interakciju s uzorcima na vakuumskim radnim stanicama PyroMark Q96 i Q24 | Filter probes fillable with ethanol, denaturation solution and wash buffer for sample interaction on PyroMark Vacuum Workstation Q96 and Q24 | pakiranje/pack | 2
4.9. | Plastična korita punjiva etanolom, otopinom za denaturaciju i puferom za ispranje, za interakciju s uzorcima na vakuumskim radnim stanicama uređaja PyroMark Q24 | Plastic troughs fillable with ethanol, denaturation solution and wash buffer, for sample interaction on PyroMark Q24 Vacuum Workstations | pakiranje/pack | 2
4.10. | Set reagencija za PCR, sadrži 2x Multipleks PCR mješavinu (sadrži: HotStarTaq® DNA polimerazu, Multiplex PCR pufer*, dNTP mješavinu), 5x Q-otopinu i vodu bez RNAse, omogućuje istovremeno umnožavanje dva ili više produkata u jednoj reakcijskoj tubici, primjenjuje se u genotipizaciji te različitim istraživački područjima deoksiribonukleinske kiseline u istraživačkim i dijagnostičkim laboratorijima. Multipleks PCR se također može koristiti za kvalitativnu i semikvantitativnu analizu ekspresije gena koristeći cDNA kao početni obrazac, količina za 100 od 50 µl reakcija | PCR Kit, includes 2x Multiplex PCR Master Mix (containing HotStarTaq® DNA Polymerase, Multiplex PCR Buffer*, dNTP Mix), 5x Q-Solution, and RNAse-Free Water, enables amplification of two or more products in parallel in a single reaction tube, widely used in genotyping applications and different areas of deoxyribonucleic acid testing in research and diagnostic laboratories. Multiplex PCR can also be used for qualitative and semi-quantitative gene expression analysis using cDNA as a starting template, amount for 100 of 50 µl reactions | pakiranje/pack | 1
4.11. | Medij za afinitetnu kromatografiju dizajniran za brzo i pouzdano pročišćavanje biotiniliranih biomolekula visoke razlučivosti (imobilizirani streptavidin veže biotin i biotinilirane tvari kroz afinitetnu kromatografiju), pročišćeni streptavidin izoliran iz Streptomyces avidinii, imobiliziran na Sepharose® High Performance, krutu baznu matricu, visoko umrežene 6%-tne agaroze visoke kemijske stabilnosti, veličina kuglica 34 μm, kapacitet vezivanja >300 nmol biotina/ml medija 6 mg biotiniliranog BSA/ml medija, pakiranje od 5 ml | Affinity chromatography medium designed for fast and reliable, high resolution purification of biotinylated biomolecules (immobilised streptavidin binds biotin and biotinylated substances through affinity chromatography), purified streptavidin isolated from Streptomyces avidinii , immobilised on Sepharose® High Performance, rigid base matrix, highly cross-linked 6% agarose with high chemical stability, 34 μm bead size, binding capacity >300 nmol biotin/ml medium 6 mg biotinylated BSA/ml medium, pack of 5ml | boca/bottle | 2
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 5
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/ APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
5 | GRUPA 5 - Kemikalije za analizu RNA i proteina | GROUP 5 - Chemicals for RNA and protein analysis
5.1. | Rekombinantno monoklonalno antitijelo na inzulin proizvedeno u zecu. Mora biti prikladno za IHC-FoFr, ICC/IF, WB, IHC-P. Mora reagirati na mišji, štakorski i humani inzulin. Mora biti pohranjeno u puferu s 0.01% natrijevim azidom, 40% glicerolom i 0.05% BSA u PBS-u. Pakiranje od 100 µl. | Recombinant monoclonal antibody to insulin, raised in rabbit. Must be suitable for IHC-FoFr, ICC/IF, WB, IHC-P. Must react with mouse, rat and human insulin. Must be stored and preserved in buffer containing 0.01% Sodium azide, 40% glycerol and 0.05% BSA in PBS. The package is 100 µl. | μl | 100
5.2. | Rekombinantno monoklonalno antitijelo na GLUT1 proizvedeno u zecu. Mora biti prikladno za protočnu citometriju, ICC/IF, WB, IHC-P. Mora biti validirano na knock-out modelu. Mora reagirati na mišji, štakorski i humani GLUT1. Mora biti pohranjeno u puferu s pH 7.2 sa 0.01% natrijevim azidom, 50% glicerola i 0.05% BSA. Pakiranje od 100 µl. | Recombinant monoclonal antibody to GLUT1 raised in rabbit. Must be suitable for flow cytometry, ICC/IF, WB, ICH-P and knockout validated. Must react with mouse, rat and human GLUT1. Must be stored and preserved at pH 7.20 in 0.01% Sodium azide, 50% glycerol and o.05% BSA. The package is 100 µl. | μl | 100
5.4 | Poliklonalno antitijelo na glukozni transporter GLUT2 proizvedeno u zecu. Mora biti prikladno za WB, indirektni ELISA, ICC/IF. Mora reagirati sa GLUT2 miša, štakora i čovjeka. Mora biti pohranjeno u puferu koji sadrži 0.1% natrijev azid i 0.1% BSA u PBS-u. Pakiranje je 25 μg. | Polyclonal antibody to GLUT2 raised in rabbit. Must be suitable for WB, indirect ELISA, ICC/IF. Must react with mouse, rat and human GLUT2. Must be stored and preserved in 0.1% Sodium azide and 0.1% BSA in PBS. The package is 25 μg. | μg | 25
5.5. | Antitijelo Donkey Anti-Rabbit IgG H&L (Alexa Fluor 555). Sekundarno antitijelo proizvedeno u magarcu, konjugirano s fluorokromom Alexa Fluor 555. Mora biti prikladno za IHC-Fr, ICC/IF, ELISA, IHC-P, Flow Cyt. Mora biti pohranjeno u puferu s 0.02% natrijevog azida, 23% glicerola i 1% BSA u PBS-u. Pakiranje je 500 μg. | Donkey Anti-Rabbit IgG H&L (Alexa Fluor 555). Secondary antibody produced in donkey. Must be conjugated with Alexa Fluor 555. Must be suitable for IHC-Fr, ICC/IF, ELISA, IHC-P, Flow Cyt. Must be stored in PBS containing 0.02% sodium azide, 23% glycerol and 1% BSA. The package is 500 μg. | μg | 500
5.6. | Antitijelo anti-Histon H3 (di metil K4) - ChIP Grade. Antitijelo mora biti izotip IgG i specifično za dimetilirani lizin 4 histona H3. Mora biti poliklonalno i podrijetlom iz zeca. Mora biti prikladno za ICC, ChIP, WB i PepArr. Mora reagirati s proteinima miša, štakora, krave i čovjeka. Mora biti u otopini pH 7.4 sa 0.02% natrijevog-azida. Pakiranje je 50 μg. | Anti-Histone H3 (di methyl K4) antibody - ChIP Grade. Antibody must be isotype IgG and specific for dimethylated lysine 4 of histone H3. Must be polyclonal and raised in rabbit. Must be suitable for ICC, ChIP, WB and PepArr. Must react with proteins of mouse, rat, cow and human origin. Must be stored in buffer with pH 7.4 with 0.02% sodium azide. The package is 50 μg. | μg | 100
5.7. | Kit za određivanje titra HIV-1 baziranih lentivirusa detekcijom p24 pomoću metode ELISA. Kit mora sadržavati mikrotitarsku pločicu (12×8-stripova) obloženu s anti-HIV-1 p24 antitijelom te omogućiti detekciju količine p24 pomoću biotiniliranog anti-p24 sekundarnog antitijela uz dodatak streptavidin-HRP i TMB supstrata. Pakiranje je za 96 reakcija. | Kit for determination of the HIV-1 based lentiviral vector titer using standard ELISA method. Must contain a microtiter plate (12x8-well strips) coated with anti-HIV-1 p24 antibody. Must enable the detection of p24 quantity using a biotynilated anti-p24 secondary antibody, streptavidin-HRP and TMB substrate. The package is for 96 reactions. | reakcija | 96 reakcija
5.8. | Antitijelo anti-histon H3 (tri metil K4). Antitijelo mora biti IgG izotip i proizvedeno u zecu. Antitijelo mora biti poliklonalno i specifično za H3K4me3. Mora biti prikladno za ChIP, WB, IHC-P, ICC/IF, PepArr. Mora reagirati s trimetiliranim lizinom na 4. poziciji u histonu H3 iz čovjeka i krave. Mora biti u otopini pH 7.40 koja sadrži natrijev azid (0.02%) i PBS. Pakiranje je 50 µg. | Anti-histon H3 (tri methyl K4) antibody. Antibody must be IgG izotype and raised in rabbit. Must be polyclonal and specific for H3K4me3. Must be suitable for ChIP, WB, IHC-P, ICC/IF and PepArr. Must react with trimethylated lysine 4 on histone H3 of human and cow. Must be preserved in buffer with pH 7.4 containing 0.02% sodium azide in PBS. The package is 50 µg. | µg | 50
5.9. | Antitijelo anti-histone H3 (acetil K9). Mora biti specifično za acetilirani 9. lizin histona H3, poliklonalno i proizvedeno u zecu. Mora biti prikladno za WB i ChIP te reagirati s ljudskim proteinima. Mora biti izotip IgG. Mora biti u otopini pH 7.4 koja sadrži prezervativ natrijev-azid (0.05%) i 30% glicerola. Pakiranje je 50 µg. | Anti-histone H3 (acetyl K9) antibody. Must be specific for acetylated lysine 9 of histone H3. Must be isotype IgG, polyclonal and raised in rabbit. Must be suitable for WB and ChIP and react with human protein. Must be in solution with pH 7.4 containing soduim-azide (0.05%) and 30% glycerol. The package is 50 µg. | µg | 50
5.10. | Antitijelo anti-histon H3 (tri metil K9). Antitijelo mora biti specifično za trimetilirani lizin 9 histona H3. Mora biti izotip IgG, poliklonalno i proizvedeno u zecu. Mora biti prikladno za ICC, IHC-P, WB i ChIP. Mora reagirati sa proteinima čovjeka, krave i miša. Mora biti u otopini pH 7.4 s natrijevim-azidom (0.02%) u PBS-u. Pakiranje je 100 µg. | Anti-Histone H3 (tri methyl K9) antibody. Must be specific for trimethylated lysine 9 of histone H3. Must be isotype IgG, polyclonal and raised in rabbit. Must be suitable for ICC, IHC-P, WB and ChIP and react with human, cow and mouse protein. Must be in solution with pH 7.4 containing soduim-azide (0.02%) in PBS. The package is 100 µg. | µg | 100
5.11. | Antitijelo anti-histon H3 (di metil K9). Antitijelo mora biti IgG izotip i proizvedeno u zecu. Antitijelo mora biti monoklonalno i specifično za H3K9me2. Mora biti prikladno za ChIP, WB, IP, IF, protočni citomertar. Mora reagirati s dimetiliranim lizinom na 9. poziciji u histonu H3 iz čovjeka i miša, štakora i majmuna. Mora biti u otopini koja sadrži 0.02% natrijevog azida i 50% glicerola. Pakiranje je 100 μl. | Anti-histone H3 (di methyl K9) antibody. The antibody must be IgG isotype and produced in rabbit. The antibody must be monoclonal and specific for H3K9me2. Must be suitable for ChIP, WB, IP, IF, flow cytometer. It must react with the dimethylated lysine at position 9 in human and mouse, rat and monkey histone H3. It must be in a solution containing 0.02% sodium azide and 50% glycerol. The package is 100 μl. | μl | 200
5.12. | Antitijelo Goat Anti-Mouse IgG H&L (HRP). Sekundarno antitijelo izotipa IgG proizvedeno u kozi konjugirano s HRP. Mora biti prikladno za IHC-P, WB, ELISA i IP. Mora biti u otopini sa pH 7.4 koja sadrži 0.1% Proclin 300 Solution, 1% BSA i 30% glicerol u PBS-u. Pakiranje je 500 µg. | Goat Anti-Mouse IgG H&L (HRP) antibody. Secundary antibody of isotype IgG raised in goat, conjugated with HRP. Must be suitable for IHC-P, WB, ELISA and IP. Must be preserved in solution with pH 7.4 containing 0.1% Proclin 300 Solution, 1% BSA i 30% glycerol in PBS-u. The package is 500 µg. | µg | 500
5.13. | Antitijelo Goat Anti-Rabbit IgG H&L (HRP). Sekundarno antitijelo izotipa IgG proizvedeno u kozi konjugirano s HRP. Mora biti prikladno za IHC-P, WB, ELISA, Imunomikroskopiju, Dot Blot, ICC i IHC-FrP. Mora biti u otopini sa 0.01% gentamicin sulfata , 0.42% kalijevog fosfata i 0.88% natrijevog klorida. Pakiranje je 1 mg. | Goat Anti-Rabbit IgG H&L (HRP) antibody. Secundary antibody of isotype IgG raised in goat, conjugated with HRP. Must be suitable for IHC-P, WB, ELISA, Imunomicroskopy, Dot Blot, ICC i IHC-FrP. Must be preserved in solution with 0.01% gentamicin sulphate, 0.42% potassium phosphate and 0.88% sodium chloride. The package is 1 mg. | mg | 1
5.14. | Reagens za koncentriranje lentivirusnih čestica. Mora omogućiti koncentriranje virusnih čestica bez upotrebe ultracentrifuge. Mora omogućiti koncentriranje virusnih čestica iz svih viralnih supernatanata u vremenu od 1h te biti prikladno za koncentriranje virusnih čestica iz velikih volumena supernatanta. Pakiranje je 100 mL. | Reagent for concentrating lentiviral particles. Must enable concentrating viral particles without an ultracentrifuge. Must be compatible with all lentiviral supernatants and allow concentration in as little as 1 hour. Must be appropriate for concentrating viral particles from large supernatant volumes. The package is 100 mL. | mL | 100
5.15. | Neliposomalni transfekcijski reagens, pogodan za transfekcijsku primarnih stanica, tumorskih modelnih staničnih linija, matičnih stanica, stanica kukaca i proizvodnju proteina i virusa. Transfekcijski reagens mora biti smjesa lipida i drugih komponenti u 80% etanolu te ne smije sadržavati sastojke ljudskog ili životinjskog podrijetla. Steriliran filtriranjem i isporučen u staklenim bočicama, veličina pakiranja 1 ml. Protokol za transfekciju ne smije zahtjevati uklanjanje seruma ili staničnog medija te ispiranje stanica ili zamjenu medija nakon transfekcije i također mora biti moguća transfekcija u 100% serumu. | Non-liposomal transfection reagent, suitable for transfection of primary cells, tumor model cell lines, stem cells, insect cells and production of proteins and viruses. The transfection reagent must be a mixture of lipids and other components in 80% ethanol and must not contain ingredients of human or animal origin. Filter sterilized and supplied in glass vials, pack size 1 ml. The transfection protocol must not require removal of serum or cell medium ( transfections in the presence of serum (up to 100%) must be possible), washing of cells or replacement of medium after transfection. | ml | 1
5.16. | Reverzna transkriptaza, modificirana verzija MMLV reverzne transkriptaze, koja mora moći dobro sintetizirati cDNA na temelju kalupa bogatog sekundarnim strukturama i GC regijama te sintetizirati cDNA dužine do 12 kb. Mora biti specifična, onemogućiti krivo vezanje početnica te mora imati najnižu razinu pogreške. Pakiranje je 10,000 jedinica. | Reverse transcriptase, a modified version of MMLV reverse transcriptase, must be able to synthesize cDNA based on a template rich in secondary structures and GC regions and synthesize cDNA up to 12 kb in length. It must be specific, make it impossible for incorrect primer binding and have the lowest level of error. Packaging is 10,000 units. | jedinica / unit (U) | 40000
5.17. | Rekombinantni inhibitor RNaza mora biti protein sa sposobnosti reverzibilnog vezanja RNaze A (1:1) i inhibiranja njene aktivnosti. Mora se moći ukloniti iz reakcije i vratiti aktivnost RNaze A. Za razliku od ostalih kompetitivnih inhibitora mor biti protein. Pakiranje je 5,000 jedinica. | The recombinant RNase inhibitor must be a protein with the ability to reversibly bind RNase A (1:1) and inhibit its activity. It must be able to be removed from the reaction and restore RNase A activity. Unlike other competitive inhibitors, it must be a protein. Packaging is 5,000 units. | jedinica / unit (U) | 10000
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 6
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/ APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
6 | GRUPA 6 - Reagensi za analizu modifikacija kromatina | GROUP 6 - Chemicals for chromatin modification analysis
6.1. | Kit za bisulfitnu konverziju deoksiribonukleinske kiseline koji mora moći potpuno konvertirati GC bogate regije deoksiribonukleinske kiseline. Važno je da eluirana konvertirana deoksiribonukleinska kiselina bude dovoljno visoke čistoće za primjenu u PCR reakcijama i pirosekvenciranju, te da konverzija bude kraća od 3h zbog rutinske konverzije što većeg broja uzoraka. Kit mora koristiti denaturaciju deoksiribonukleinske kiseline toplinom umjesto kemijske denaturacije. Također, kit mora imati mogućnost završnog koraka elucije u što manjem volumenu (10 µl) kako bi koncentracije bisulfitno konvertirane deoksiribonukleinske kiseline bila što veća. Pakiranje je za 200 reakcija. | A deoxyribonucleic acid bisulfite conversion kit that must be able to fully convert GC-rich regions of deoxyribonucleic acid. It is important that the eluted converted deoxyribonucleic acid has high purity for use in PCR reactions and pyrosequencing, and that the conversion is shorter than 3 hours due to the routine conversion of as many samples as possible. The kit must use deoxyribonucleic acid heat denaturation instead of chemical denaturation. Also, the kit must have the possibility of a final elution step in as small a volume as possible (10 µl) so that the concentration of bisulfite-convertedDeoxyribonucleic acid is as high as possible. The package is for 200 reactions. | reakcija / reaction | 200
6.2. | Kit za izolaciju ribonukleinske kiseline koji uspješno može izolirati ukupnu ribonukleinsku kiselinu uključujući small i micro ribonukleinske kiseline iz stanica i tkiva. Izolirana ribonukleinska kiselina mora biti dovoljno kvalitetna za nizvodne metode kao što je NGS, RT-qPCR, hibridizacija, itd. Kit mora uključivati kolonice za uklanjanje deoksiribonukleinske kiseline i DNazu I. Kit mora omogućavati odvajanje malih RNA (17-200 nt) od velikih RNA (>200 nt) u odvojene frakcije. Pakiranje je za 200 reakcija. | An ribonucleic acid isolation kit that can successfully isolate total ribonucleic acid including small and micro ribonucleic acid from cells and tissues. The isolated ribonucleic acid must be of sufficient quality for downstream methods such as NGS, RT-qPCR, hybridization, etc. The kit must include deoxyribonucleic acid removal columns and DNase I. The kit must allow the separation of small RNAs (17-200 nt) from large RNAs (> 200 nt) into separate fractions. The package is for 200 reactions. | reakcija / reaction | 800
6.3. | Kit za metodu CUT&RUN (Cleavage Under Targets & Release Using Nuclease) koji se koristi za analizu histonskih modifikacija i vezanja transkripcijskih faktora u malom broju stanica. Kit je optimiziran za digestiju 100000 stanica, ali se može upotrebljavati u rangu od 5000 do 250000 stanica po reakciji. Kit sadrži kontrole za eksperiment – kao pozitivnu kontrolu zečje monoklonalno antitijelo specifično za H3K4me3, a kao negativnu kontrolu zečje monoklonalno antitijelo IgG (izotipska kontrola). Kit također sadrži magnetske kuglice s konkanavalinom A, specifične pufere (pufer za aktivaciju kuglica, pufer za vezanje antitijela, 10x pufer za ispiranje, pufer za ekstraciju deoksiribonukleinske kiseline, 4X pufer za zaustavljanje), kalcijev klorid, enzim pAG-MNaza, otopinu digitonina, 100X spermidin, 200X koktel inhibitora proteaza, proteinazu K (20 mg/ml), RNAzu A (10 mg/ml), spike-in DNA za normalizaciju uzorka i sljedeće setove primera: set primera za normalizaciju uzorka i set primera za ljudski i mišji gen RPL30. Kit je kompatibilan sa sljedećim nizvodnim analizama: qPCR i NGS. Cijeli protokol moguće je napraviti u jednom danu. Pakiranje je za 24 reakcije. | Kit for CUT&RUN (Cleavage Under Targets & Release Using Nuclease) method used for analysis of histone modifications and binding of transcription factors with low cell number. Kit is optimized for digestion of 100000 cells, but can be used in range from 5000 to 250000 cells per reaction. Kit includes controls for experiment – positive control rabbit monoclonal antibody specific for H3K4me3 and negative control rabbit monoclonal IgG isotype control. Kit also includes concanavalin A magnetic beads, specific buffers (beads activation buffer, antibody binding buffer, 10x wash buffer, deoxyribonucleic acid extraction buffer, 4X stop buffer), calcium chloride, pAG-MNase enzyme, digitonin solution, 100X spermidine, 200X protease inhibitor cocktail, 20 mg/ml proteinase K, 10 mg/ml RNAse A, sample normalization spike-in DNA (1 ng/μl), and following primer sets: sample normalization primer set and primer sets for the human and mouse RPL30 gene locus. This kit is compatible with both qPCR and NGS downstream analysis. A complete protocol can be performed in one day. The package is for 24 reactions. | reakcija / reaction | 192
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## GRUPA 7
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | OKVIRNA KOLIČINA/ APPROXIMATE QUANTITY | JEDINIČNA CIJENA BEZ PDV-a / Value without VAT | JEDINIČNA CIJENA S PDV-om / Value with VAT included | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU BEZ PDV-a / Total value of the approximate quantity without VAT | UKUPNA VRIJEDNOST ZA OKVIRNU KOLIČINU S PDV-om / Total value of the approximate quantity VAT included | KATALOŠKI BROJ PROIZVODA ili slično / Product catalogue number or similar
7 | GRUPA 7 - Reagensi za analizu modifikacija nukleinskih kiselina | GROUP 7 - Chemicals for nucleic acid modification analysis
7.1. | Reagensi za pirosekvenciranje kompatibilni s uređajem PyroMarko Q24 Advanced. Reagensi moraju biti prikladni za analizu metilacije deoksiribonukleinske kiseline, posebno metilacije deoksiribonukleinske kiseline na CpG ili CpN mjestima. Moraju sadržavati mix enzima, supstrata, nukleotida i pufera za dugačke eseje pirosekvenciranja. Pakiranje je 4×24 reakcije. | Pyrosequencing reagents compatible with the PyroMarko Q24 Advanced device. Reagents must be suitable for deoxyribonucleic acid methylation analysis, especially deoxyribonucleic acid methylation at CpG or CpN sites. They must contain a mix of enzymes, substrates, nucleotides and buffers for long pyrosequencing assays. The package is 4×24 reactions. | reakcija / reaction | 960
7.2. | Kit za pročišćavanje deoksiribonukleinske kiseline nakon lančane reakcije polimerazom. Kit mora omogućiti izolaciju PCR produkata većih od 100 pb do 10 kb s bar 95% efikasnošću i u 3 koraka. Mora sadržavati spin kolonice, pufere i kolekcijske tubice zapremnine 2 mL. Pakiranje je za 250 reakcija. | Kit for purification of deoxyribonucleic acid after polymerase chain reaction. The kit must enable the isolation of PCR products larger than 100 bp to 10 kb with at least 95% efficiency and in 3 steps. It must contain spin columns, buffers and collection tubes with a volume of 2 mL. The package is for 250 reactions. | reakcija / reaction | 750
7.3. | Pufer za vezanje jednolančanih ili dvolančanih PCR produkata za membranu spin-kolonica te efikasno uklanjanje početnica veličine i do 40 nukleotida. Pufer sadrži visoke koncentracije guanidin hidroklorida i izopropanola. Mora biti kompatibilan s kitom za pročišćavanje PCR produkata naveden pod stavkom 3. Pakiranje je od 500 mL. | Buffer for binding of single- or double-stranded PCR products to the membrane of spin-columns and efficient removal of primers up to 40 nucleotides in size. The buffer contains high concentrations of guanidine hydrochloride and isopropanol. It must be compatible with the kit for purification listed under item 3. The package is 500 mL. | mL | 1000
| Datum, mjesto: | M.P. Za ponuditelja:
____________________