## Sheet1
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | ŠIFRA PROIZVODA /PRODUCT CODE | NAZIV PROIZVOĐAČA / MANUFACTURER'S NAME | Proizvod ispunjava traženo: DA/NE (ispunjava Naručitelj)
| Potrošni materijal za mjerenje citokina i kemokina u serumu | Consumables for measurement of cytokines and chemokines in serum
1.1. | 48-pleks test za probir humanih citokina po principu tehnike multipleks ELISA (osnovni FGF, eotaxin, G-CSF, GM-CSF, IFN-g, IL-1b, IL-1ra, IL-1a, IL-2Ra, IL-3, IL-12, IL-16, IL-2, IL-4, IL-5, IL-6, IL-7, IL-8, IL-9, GRO-a, HGF, IFN-a2, LIF, MCP-3, IL-10, IL-12, IL-13, IL-15, IL-17A, IP-10, MCP-1, MIG, b-NGF, SCF, SCGF-b, SDF-1a, MIP-1a, MIP-1b, PDGF-BB, RANTES, TNF-a, VEGF, CTACK, MIF, TRAIL, IL-18, M-CSF, TNF-b). Analiti se mjere u jednom testu sa svim komponentama potrebnima za analizu multipleks imunotesta (ploče, magnetne kuglice, antitijela za detekciju, standard, dilucijski puferi za standard, antitijela, pufer za analize, pufer za ispiranje i traka za pokrivanje ploče). Test mora biti kompatibilan sa u laboratoriju postojećim uređajem Bio-Plex 200 i softverom Bio-Plex Manager | 48-plex assay for screening human cytokines with technique of multiplex ELISA ( FGF basic, eotaxin, G-CSF, GM-CSF, IFN-g, IL-1b, IL-1ra, IL-1a, IL-2Ra, IL-3, IL-12, IL-16, IL-2, IL-4, IL-5, IL-6, IL-7, IL-8, IL-9, GRO-a, HGF, IFN-a2, LIF, MCP-3, IL-10, IL-12, IL-13, IL-15, IL-17A, IP-10, MCP-1, MIG, b-NGF, SCF, SCGF-b, SDF-1a, MIP-1a, MIP-1b, PDGF-BB, RANTES, TNF-a, VEGF, CTACK, MIF, TRAIL, IL-18, M-CSF, TNF-b). Analytes are measured in one assay with all components necessary for multiplex immunoassay analysis (plates, magnetic beads, detection antibodies, standard, dilution buffers for standard, antibodies, assay buffer, wash buffer, sealing tape). The assay must be compatible with the laboratory's existing Bio-Plex 200 instrument and Bio-Plex Manager software. | pakiranje/package | 2
1.2. | 9-pleks test za probir humanih analita tehnikom multipleks ELISA (MIP-1a, CXCL-12, IL-1b, IL-4, IL-6, IL-8, MCP-1, MCP-3, TNF-a). Analiti se mjere u jednom testu sa svim komponentama potrebnima za analizu multipleks imunotesta (ploče, magnetne kuglice, antitijela za detekciju, standard, dilucijski puferi za standard, antitijela, pufer za analize, pufer za ispiranje i traka za pokrivanje ploče). Test mora biti kompatibilan sa u laboratoriju postojećim uređajem Bio-Plex 200 i softverom Bio-Plex Manager | 9-plex assay for screening human analytes with technique of multiplex ELISA (MIP-1a, CXCL-12, IL-1b, IL-4, IL-6, IL-8, MCP-1, MCP-3, TNF-a). Analytes are measured in one assay with all components necessary for multiplex immunoassay analysis (plates, magnetic beads, detection antibodies, standard, dilution buffers for standard, antibodies, assay buffer, wash buffer, sealing tape). The assay must be compatible with the laboratory's existing Bio-Plex 200 instrument and Bio-Plex Manager software. | pakiranje/package | 15
1.3. | 9-pleks test za probir humanih analita tehnikom multipleks ELISA (MIP-1b, RANTES, IL-13, IL-15, IL-17A, IL-18, IL-1Ra, IL-5, VEGF). Analiti se mjere u jednom testu sa svim komponentama potrebnima za analizu multipleks imunotesta (ploče, magnetne kuglice, antitijela za detekciju, standard, dilucijski puferi za standard, antitjela, pufer za analize, pufer za ispiranje i traka za pokrivanje ploče). Test mora biti kompatibilan sa u laboratoriju postojećim uređajem Bio-Plex 200 i softverom Bio-Plex Manager. | 9-plex assay for screening human analytes with technique of multiplex ELISA (MIP-1b, RANTES, IL-13, IL-15, IL-17A, IL-18, IL-1Ra, IL-5, VEGF). Analytes are measured in one assay with all components necessary for multiplex immunoassay analysis (plates, magnetic beads, detection antibodies, standard, dilution buffers for standard, antibodies, assay buffer, wash buffer, sealing tape). The assay must be compatible with the laboratory's existing Bio-Plex 200 instrument and Bio-Plex Manager software. | pakiranje/package | 15
1.4. | 8-pleks test za probir humanih analita tehnikom multipleks ELISA (IFN-g, IL-10, IL-12, IL-2, IL-22, MMP-1, MMp-2, MMP-3F). Analiti se mjere u jednom testu sa svim komponentama potrebnima za analizu multipleks imunotesta (ploče, magnetne kuglice, antitijela za detekciju, standard, dilucijski puferi za standard, antitjela, pufer za analize, pufer za ispiranje i traka za pokrivanje ploče). Test mora biti kompatibilan sa u laboratoriju postojećim uređajem Bio-Plex 200 i softverom Bio-Plex Manager. | 8-plex assay for screening human analytes with technique of multiplex ELISA (IFN-g, IL-10, IL-12, IL-2, IL-22, MMP-1, MMp-2, MMP-3F). Analytes are measured in one assay with all components necessary for multiplex immunoassay analysis (plates, magnetic beads, detection antibodies, standard, dilution buffers for standard, antibodies, assay buffer, wash buffer, sealing tape). The assay must be compatible with the laboratory's existing Bio-Plex 200 instrument and Bio-Plex Manager software. | pakiranje/package | 15
1.5. | 7-pleks test za probir humanih analita tehnikom multipleks ELISA (IL-21, leptin, MMP-13, MMP-8, MMP-9, sICAM-1, VCAM-1). Analiti se mjere u jednom testu sa svim komponentama potrebnima za analizu multipleks imunotesta (ploče, magnetne kuglice, antitijela za detekciju, standard, dilucijski puferi za standard, antitjela, pufer za analize, pufer za ispiranje i traka za pokrivanje ploče). Test mora biti kompatibilan sa u laboratoriju postojećim uređajem Bio-Plex 200 i softverom Bio-Plex Manager | 7-plex assay for screening human analytes with technique of multiplex ELISA (IL-21, leptin, MMP-13, MMP-8, MMP-9, sICAM-1, VCAM-1). Analytes are measured in one assay with all components necessary for multiplex immunoassay analysis (plates, magnetic beads, detection antibodies, standard, dilution buffers for standard, antibodies, assay buffer, wash buffer, sealing tape). The assay must be compatible with the laboratory's existing Bio-Plex 200 instrument and Bio-Plex Manager software. | pakiranje/package | 15
1.6. | 4-pleks test za probir humanih analita tehnikom multipleks ELISA (TIMP-1, TIMP-2, TIMP-3, TIMP-4). Analiti se mjere u jednom testu sa svim komponentama potrebnima za analizu multipleks imunotesta (ploče, magnetne kuglice, antitijela za detekciju, standard, dilucijski puferi za standard, antitjela, pufer za analize, pufer za ispiranje i traka za pokrivanje ploče). Test mora biti kompatibilan sa u laboratoriju postojećim uređajem Bio-Plex 200 i softverom Bio-Plex Manager | 4-plex assay for screening human analytes with technique of multiplex ELISA (TIMP-1, TIMP-2, TIMP-3, TIMP-4). Analytes are measured in one assay with all components necessary for multiplex immunoassay analysis (plates, magnetic beads, detection antibodies, standard, dilution buffers for standard, antibodies, assay buffer, wash buffer, sealing tape). The assay must be compatible with the laboratory's existing Bio-Plex 200 instrument and Bio-Plex Manager software. | pakiranje/package | 15
1.7. | 3-pleks test za probir humanih analita tehnikom multipleks ELISA (TGF-b1, TGF-b2, TGF-b3 ). Analiti se mjere u jednom testu sa svim komponentama potrebnima za analizu multipleks imunotesta (ploče, magnetne kuglice, antitijela za detekciju, standard, dilucijski puferi za standard, antitjela, pufer za analize, pufer za ispiranje i traka za pokrivanje ploče). Test mora biti kompatibilan sa sustavom Bio-Plex 200 i softverom Bio-Plex Manager | 3-plex assay for screening human analytes with technique of multiplex ELISA (TGF-b1, TGF-b2, TGF-b3). Analytes are measured in one assay with all components necessary for multiplex immunoassay analysis (plates, magnetic beads, detection antibodies, standard, dilution buffers for standard, antibodies, assay buffer, wash buffer, sealing tape). The assay must be compatible with the laboratory's existing Bio-Plex 200 instrument and Bio-Plex Manager software. | pakiranje/package | 15
1.8. | Tekućina za ispiranje sustava kompatibilna sa u laboratoriju postojećem Bio-Plex 200 uređajem, pakiranje 20 L. | Sheath fluid for washing compatible with the laboratory's existing Bio-Plex 200 instrument, 20 L package., packing 20 L. | komad/piece | 5
1.9. | Kit za kalibraciju u laboratoriju postojećeg Bio-Plex 200. | Calibration kit forcompatible with the laboratory's existing Bio-Plex 200 instrument. | pakiranje/package | 2
1.10. | Kit za validaciju Bio-Plex 200 u laboratoriju postojećem sustava | Validation kit for the laboratory's existing Bio-Plex 200 instrument. | pakiranje/package | 2
1.11. | Kit za lizu stanica kompatibilan sa sustavom Bio-Plex 200 s uključenim proteaza inhibitorima. | Cell lysis kit compatile with the laboratory's existing Bio-Plex 200 instrument, protease inhibitors included. | pakiranje/package | 4
1.12. | Komplet za mjerenje koncentracije proteina na mikrotitarskim pločama kompatibilan sa deterdžentima, uključen BSA standard. | Kit for microplate assay for determination of protein concentration, detergent compatible, with BSA standard. | pakiranje/package | 1
1.13. | Mikro test tubice kompatibilne za pipetiranje s multikanalnom pipetom, volumen 1 ml. | Micro test tubes compatible with multichannel pipetting, volume 1 ml. | komad/piece | 4000
1.14. | Čepovi za mikro test tubice kompatibilni sa stavkom 1.13. | Micro test tubes caps compatible with 1.13. | komad/piece | 4000
1.15. | Nesterilni nastavci za pipete 2 - 200 ul, rasuto pakiranje, kompatibilni sa pipetama Eppendorf Reference 2. | Non-sterile pipet tips, 2 - 200 ul, bulk package, compatible with pipettes Eppendorf Reference 2. | komad/piece | 8000
1.16. | Filter nastavci za pipete,Sterilni, bez DNaza i RNaza, 0.1 - 10 ul, duljina min 40 mm, kompatibilni sa pipetama Eppendorf Reference 2. | Sterile, Dnase and RNase free, filter pipet tips, 0.1 - 10 ul, height min 40 mm, compatible with pipettes Eppendorf Reference 2. | komad/piece | 19200
1.17. | Filter nastavci za pipete, sterilni, bez DNaza i RNaza, 0.5 - 20 ul, duljina min 46 mm, niska retencija, kompatibilni sa pipetama Eppendorf Reference 2. | Sterile, DNase and RNase free, filter pipet tips, 0.5 - 20 ul, height min 46 mm, low-retention, compatible with pipettes Eppendorf Reference 2. | komad/piece | 19200
1.18. | Filter nastavci za pipete, sterilni, bez DNaza i RNaza, 2 - 200 ul, duljina min 55 mm, kompatibilni sa pipetama Eppendorf Reference 2. | Sterile, DNase, RNase free, filter pipet tips, 2 - 200 ul, height min 55 mm, compatible with pipettes Eppendorf Reference 2. | komad/piece | 28800
1.19. | Filter nastavci za pipete, sterilni, bez DNaza i RNaza, 50 - 1000 ul, duljina min 76 mm, kompatibilni sa pipetama Eppendorf Reference 2. | Sterile, DNase, RNase free, filter pipet tips, 50 - 1000 ul, height min 76 mm, compatible with pipettes Eppendorf Reference 2. | komad/piece | 19200
1.20. | Filter nastavci za pipete, sterilni, bez DNaza i RNaza, 2 - 20 ul, duljina min 53mm, kompatibilni sa pipetama Eppendorf Reference 2. | Sterile, DNase, RNase free, filter pipet tips, 2 - 20 ul, height min 53 mm, compatible with pipettes Eppendorf Reference 2. | komad/piece | 28800
1.21. | Filter nastavci za pipete, sterilni, bez DNaza i RNaza, 2 - 100 ul, duljina min 53 mm, kompatibilni sa pipetama Eppendorf Reference 2 i Eppedorf Xplorer Plus. | Sterile, DNase, RNase free, filter pipet tips, 2 - 100 ul, height min 53 mm, compatible with pipettes Eppendorf Reference 2 and Eppendorf Xplorer Plus. | komad/piece | 28800
1.22. | Filter nastavci za pipete, sterilni, bez DNaza i RNaza, 50 - 1250 ul, duljina min 103 mm, kompatibilni sa pipetama Eppendorf Reference 2. | Sterile, DNase, RNase free, filter pipet tips, 50 - 1250 ul, height min 103 mm, compatible with pipettes Eppendorf Reference 2. | komad/piece | 4800
1.23. | Sterilni, DNaza i RNaza slobodni, filter nastavci za pipete, 20 - 300 ul, duljina min 55 mm, kompatibilni sa pipetama Eppendorf Xplorer Plus. | Sterile, DNase, RNase free, filter pipet tips, 20 - 300 ul, height 55 mm, compatible with pipettes Eppendorf Xplorer Plus. | komad/piece | 9600
1.24. | Sterilni kombi-nastavci za multipipete, PCR čisti, 0.2 mL, kompatibilni sa Eppendorf Multipetom EX3. | Sterile combitips for multipettes, PCR clean, 0.2 mL, compatible with Eppendorf Multipette EX3. | komad/piece | 1000
1.25. | Sterilni kombi-nastavci za multipipete, PCR čisti, 0.5 mL, kompatibilni sa Eppendorf Multipetom EX3. | Sterile combitips for multipettes, PCR clean, 0.5 mL, compatible with Eppendorf Multipette EX3. | komad/piece | 1000
1.26. | Sterilni kombi-nastavci za multipipete, PCR čisti, 1 mL, kompatibilni sa Eppendorf Multipetom EX3. | Sterile combitips for multipettes PCR clean, 1 mL, compatible with Eppendorf Multipette EX3. | komad/piece | 1000
1.27. | Sterilni kombi-nastavci za multipipete, PCR čisti, 5 mL, kompatibilni sa Eppendorf Multipetom EX3. | Sterile combitips for multipettes, PCR clean, 5 mL, compatible with Eppedorf Multipette EX3. | komad/piece | 1000
1.28. | Sterilni kombi-nastavci za multipipete, PCR čisti, 10 mL, kompatibilni sa Eppendorf Multipetom EX3. | Sterile combitips for multipettes, PCR clean, 10 mL, compatible with Eppendorf Multipette EX3. | komad/piece | 1000
1.29. | Sterilne tubice za mikrocentrifugiranje, sa nizkim vezivanjem DNA, 1.5 mL, DNAza, RNAza slobodni. | 1.5 ml sterile microcentrifuge tubes, DNA low bind, DNase, RNase free. | komad/piece | 35000
1.30. | Sterilne tubice za mikrocentrifugiranje, sa nizkim vezivanjem DNA, 2 mL, DNAza, RNAza slobodni. | 2 ml sterile microcentrifuge tubes, DNA low bind, DNase, RNase free. | komad/piece | 12500
1.31. | Sterilne tubice za mikrocentrifugiranje, sa nizkim vezivanjem proteina, 1.5 mL. | 1.5 ml sterile microcentrifuge tubes, protein low bind. | komad/piece | 2000
1.32. | Sterilne tubice za mikrocentrifugiranje, sa nizkim vezivanjem proteina, 2 mL. | 2 ml sterile microcentrifuge tubes, protein low bind. | komad/piece | 5000
1.33. | Nitrilne rukavice bez pudera, debljina na prstima min 3 mil, veličina S | disposable nitrile gloves powder free, thickness min 3 mil, size S | komad/piece | 4000
1.34. | Nitrilne rukavice bez pudera, debljina na prstima min 3 mil, veličina M | disposable nitrile gloves powder free, thickness min 3 mil, size M | komad/piece | 4000
1.35. | Nitrilne rukavice bez pudera, debljina na prstima min 3 mil, veličina L | disposable nitrile gloves powder free, thickness min 3 mil, size L | komad/piece | 500
1.36. | Crna mikrotitarska ploča sa 96-jažica, ravno i prozirno dno, kompatibilnost sa sustavom u labortoriju postojećim Bio-Plex 200 uređajem. | Black microtiter 96-well plate, flat and clear bottom, compatible with Bio-Plex 200 System. | komad/piece | 200
1.37. | Polipropilenske kutije sa pokrovom za pohranu uzoraka, pogodne za -80°C, autoklavirajuće, dimenzije: visina 58mm, 8x8 pozicija za 1,5 mL ili 2 mL mikrotubice. | Polypropylene storage boxes with lids, suitable for -80°C storage, autoclavable, dimensions: height 53mm, 8x8 positions for 1,5 ml and 2 ml microtubes. | komad/piece | 75
UPUTE: ponuditelj ispunjava stupce / the bidder fills in the columns: ŠIFRA PROIZVODA /PRODUCT CODE i NAZIV PROIZVOĐAČA / MANUFACTURER'S NAME
Rok isporuke: _________ (broj dana od dana izdavanja narudžbenice)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________