## Sheet1
Uputa o načinu popunjavanja: • Ponuditelj je obvezan ispuniti Troškovnik po svim traženim stavkama, na način da popuni stupac "Ponuđene specifikacije" prema opisima u stupcu "Tražene specifikacije". Ponuđena roba mora u cijelosti zadovoljiti minimalne karakteristike koje su opisane u tehničkoj specifikaciji ili biti bolja od opisanih specifikacija. • Ponuditelj ne smije mijenjati navedene tražene tehničke specifikacije • Za sve stavke Troškovnika u kojima se uz navedene tehničke specifikacije traži norma, oznaka ili pak marka, patent, tip ili određeno podrijetlo, ponuditelj može ponuditi „ili jednakovrijedno“. • U stupac "Jedinična cijena bez PDV-a ponuditelj upisuje jedinične cijene u dvije decimale.
Instructions on filling out the form: • The Bidder is obliged to fill in the Cost Sheet for all required items, by entering the column "Offered specifications" according to descritions from the column "Requested specifications". The offered goods must fully meet the minimum characteristics described in the technical specification or be better than the described specifications. • The bidder may not change the stated required technical specifications • For all items of the Cost Sheet in which, in addition to the stated technical specifications, a standard, marking or trademark, patent, type or certain origin is required, the bidder may bid "or equivalent". • In the column "Unit price excluding VAT", the bidder enters unit prices rounded to two decimal places.
Rashladni medij za prijenos topline u niskotemperaturnim rashladnim sustavima Cooling media for heat reansfer in low temperature cooling systems
Redni broj / No. | Tražene specifikacije / Requested specifications | Ponuđene specifikacije / Offered specifications
1 | Koncentrat na bazi kalij formata (HCOOH) za miješanje sa vodom u proporcionalnom omjeru, za dobijanje vodene otopine rashladne tekućine u količini od 60.000 litara sa inhibitorima korozije bakra i čelika Rashladna tekućina za prijenos topline u niskotemperaturnim indirektnim rashladnim sustavima Točka smrzavanja: minimalno -55 ˚C (u odgovarajućem omjeru bazne tvari i vode) Concentrate based on potassium formate (HCOOH) for mixing with water in a proportional ratio, to obtain an aqueous solution of coolant in the amount of 60,000 liters with copper and steel corrosion inhibitors Coolant for heat transfer in low-temperature indirect cooling systems Freezing point: minimum -55 ˚C (in the appropriate ratio of base substance and water)
Opseg isporuke Koncetrat u vodenoj otopini za prijenos topline u niskotemperaturnim rashladnim sustavima Tehnički list sa opisom kemijskih svojstava i termičkim karakteristikama Sigurnosni list za korištenje u EU: REACH certificate Scope of delivery: Concentrate in aqueous solution for heat transfer in low-temperature cooling systems Technical sheet with description of chemical properties and thermal characteristics Safety data sheet for use in the EU: REACH certificate
Redni broj / No. | Opis stavke / Item description | Jedinica mjere / Unit | Količina / Quantity | Jedinična cijena bez PDV-a / unit price excluding VAT | Ukupno / Total price excluding VAT
1 | Koncetrat za pripremu 60.000 litara rashladne tekučine u vodenoj otopini za prijenos topline u niskotemperaturnim rashladnim sustavima Concentrate for the preparation of 60,000 liters of coolant in an aqueous solution for heat transfer in low-temperature cooling systems | Komplet/set | 1 |  | 0
|  |  |  | SVEUKUPNO BEZ PDV-a / TOTAL SUM excluding VAT | 0
| Plaćanje: 100 % avans Payment: 100 % advance |  |  | IZNOS PDV-a / VAT amount
| Rok isporuke: najkasnije do 28.12.2023., FCA Delivery deadline: latest up to 28th December 2023, FCA |  |  | SVEUKUPNO S PDV-om / TOTAL SUM including VAT | 0